## COVER
Construction Cost Estimate
607 Concord Avenue · Wilmington, Delaware 19802
ROUGH ORDER OF MAGNITUDE · FULL GUT REHABILITATION WITH COMPLETE MEP REPLACEMENT
TOTAL PROJECT COST — ORDER OF MAGNITUDE
292744.8216 |  |  |  |  | 225.1883
CONSTRUCTION $276,174 A/E FEES $16,570 GROSS AREA 1,300 SF
Project information |  |  | Prepared by
PROJECT | 607 Concord Avenue |  | FIRM |  |  | Merge 4 Design LLC
LOCATION | Wilmington, DE 19802 |  | ADDRESS |  |  | 500 Delaware Ave, Suite 1 #1551
PARCEL | 2601530162 |  |  |  |  | Wilmington, DE 19899
JURISDICTION | New Castle County |  | PROJECT NO. |  |  | M2-2026-016
BUILDING | Rowhouse — end unit, corner |  | ESTIMATE DATE |  |  | 23 July 2026
CONFIGURATION | 2 story + basement + attic |  | DRAWING BASIS |  |  | AD-01 / A-101 / AD-03
GROSS AREA | 1,300 SF above grade |  | DRAWING DATE |  |  | 28 June 2026
SCOPE | Full gut rehabilitation |  | ACCURACY |  |  | ± 20% · AACE Class 4
Project cost control stage
ROM estimate | Feasibility | Design development |  | GMP / contract |  |  | Closeout
COMPLETE | PENDING | PENDING |  | PENDING |  |  | PENDING
Basis of estimate
This estimate is a rough order of magnitude prepared from the architectural drawing set referenced above. Quantities are derived from plan takeoff and field-verifiable dimensions. Unit rates reflect current Wilmington-area subcontractor pricing for residential rehabilitation of comparable scale and complexity.
All mechanical, electrical and plumbing systems are carried as complete replacement, including a 200-amp electrical service upgrade, new gas-fired forced-air heating with cooling, new supply and drain-waste-vent piping, and a new gas water heater.
Exterior scope reflects observed existing conditions including roof replacement to the rafters, porch reconstruction, selective masonry repointing, and re-cladding of the rear wing.
The estimate carries an 8% design and construction contingency and a 10% general contractor overhead and profit allowance. Architecture and engineering fees are shown separately at 6% of construction cost.
Prepared for budgeting, financing and feasibility purposes. This is not a bid, a guaranteed maximum price, or an offer to perform work. Competitive contractor pricing should be obtained prior to any funding commitment or construction contract.
Merge 4 Design LLC · M4Di Construction ROM · Project M2-2026-016 · Issued 23 July 2026 · Page 1 of 4

## SUMMARY
Cost summary
Direct construction cost |  |  | 52 line items · 10 divisions |  | 232470
Design & construction contingency |  |  | 8% of direct cost |  | 18597.6
General contractor overhead & profit |  |  | 10% |  | 25106.76
Total construction cost |  |  | Hard cost |  | 276174.36
Architecture & engineering fees |  |  | 6% of construction |  | 16570.4616
TOTAL PROJECT COST |  |  | Order of magnitude |  | 292744.8216
Cost metrics
GROSS FLOOR AREA |  | DIRECT COST / SF |  | CONSTRUCTION / SF |  | TOTAL PROJECT / SF
1300 |  | 178.8231 |  | 212.4418 |  | 225.1883
Cost distribution by division
Division |  |  |  | Subtotal |  | Share of direct
01 GENERAL CONDITIONS |  |  |  | 9200 |  | 3.957%
02 DEMOLITION |  |  |  | 20050 |  | 8.625%
03 FOUNDATIONS & STRUCTURE |  |  |  | 14300 |  | 6.151%
04 EXTERIOR ENVELOPE |  |  |  | 42450 |  | 18.26%
05 INTERIOR CONSTRUCTION |  |  |  | 19520 |  | 8.397%
06 FINISHES |  |  |  | 21300 |  | 9.162%
07 KITCHEN & BATHS |  |  |  | 35600 |  | 15.31%
08 PLUMBING |  |  |  | 21200 |  | 9.119%
09 HVAC |  |  |  | 22650 |  | 9.743%
10 ELECTRICAL |  |  |  | 26200 |  | 11.27%
Direct construction cost |  |  |  | 232470 |  | 100%
Existing condition observations
FRONT ELEVATION | Two-story brick rowhouse with attic dormer. Arched masonry window surrounds intact. Full-width covered porch. Entry door boarded in current imagery — structure vacant and secured.
CORNER / SIDE | End-unit condition exposes the full side elevation. Stone foundation shows moisture staining and efflorescence at grade. Basement openings boarded.
REAR WING | Addition clad in vinyl siding, weathered and deteriorated. Re-clad carried in Division 04.
ROOF | Existing roof aged beyond serviceable life. Full strip to rafters carried in Division 02.
HAZARDOUS MATERIALS | Structure predates 1978. Lead paint and asbestos presumed present. Survey and abatement excluded — see Exclusions, page 4.
Merge 4 Design LLC · M4Di Construction ROM · Project M2-2026-016 · Issued 23 July 2026 · Page 2 of 4

## DETAIL
Construction cost detail — full quantity and rate buildup
Scope item | CSI ref | Qty | Unit | Unit cost | Line total | % of dir.
01 GENERAL CONDITIONS
Temporary protection, site safety, dumpsters, cleanup | DIV 01-TF | 1 | LS | 4500 | 4500 | 1.936%
Permits & inspections — New Castle County | DIV 01-PM | 1 | LS | 3500 | 3500 | 1.506%
Final clean | DIV 01-FC | 1 | LS | 1200 | 1200 | 0.5162%
Division subtotal |  |  |  |  | 9200
02 DEMOLITION
Selective demo — windows, exterior doors, sidelights | DIV 02-DI | 1 | LS | 3500 | 3500 | 1.506%
Remove exterior brick wall to roof level | DIV 02-DE | 1 | LS | 4200 | 4200 | 1.807%
Remove load-bearing structural wall (interior) | DIV 02-DS | 1 | LS | 2800 | 2800 | 1.204%
Roof demolition — strip to rafters | DIV 02-DR | 1300 | SF | 2.5 | 3250 | 1.398%
Floor sheathing removal / porch decking demo | DIV 02-DF | 1 | LS | 1800 | 1800 | 0.7743%
MEP demolition — remove systems back to mains | DIV 02-DM | 1 | LS | 4500 | 4500 | 1.936%
Division subtotal |  |  |  |  | 20050
03 FOUNDATIONS & STRUCTURE
Repair & parge foundation — front and side elevations | DIV 03-CR | 1 | LS | 2800 | 2800 | 1.204%
Repair basement slab — patch / limited pour | DIV 03-CS | 1 | LS | 1800 | 1800 | 0.7743%
New LVL beam & posts at each end | DIV 06-SF | 1 | LS | 6500 | 6500 | 2.796%
New 2x10 floor joists | DIV 06-FJ | 5 | EA | 640 | 3200 | 1.377%
Division subtotal |  |  |  |  | 14300
04 EXTERIOR ENVELOPE
Asphalt shingle roof — main pitched areas | DIV 07-RS | 1300 | SF | 7.5 | 9750 | 4.194%
Low-slope rubber membrane roof — porch / flat area | DIV 07-RM | 1 | LS | 4800 | 4800 | 2.065%
Porch rebuild — decking, vinyl railings, steps | DIV 06-PR | 1 | LS | 5600 | 5600 | 2.409%
Exterior entry door with sidelights — front | DIV 08-DE | 1 | EA | 2800 | 2800 | 1.204%
Exterior rear door | DIV 08-DR | 1 | EA | 1800 | 1800 | 0.7743%
Replacement windows — match existing profile | DIV 08-WD | 8 | EA | 950 | 7600 | 3.269%
Masonry infill at basement window openings | DIV 04-MI | 3 | EA | 800 | 2400 | 1.032%
Rear wing re-clad — fiber cement siding | DIV 07-SD | 1 | LS | 4500 | 4500 | 1.936%
Brick repointing — spot tuckpointing | DIV 04-RP | 1 | LS | 3200 | 3200 | 1.377%
Division subtotal |  |  |  |  | 42450
05 INTERIOR CONSTRUCTION
Gypsum board — walls and ceilings, all levels | DIV 09-GB | 2600 | SF | 4.2 | 10920 | 4.697%
Interior doors per schedule | DIV 08-DI | 8 | EA | 550 | 4400 | 1.893%
Closet shelving / linen storage | DIV 06-MW | 1 | LS | 1800 | 1800 | 0.7743%
Stair repair and refinish | DIV 06-ST | 1 | LS | 2400 | 2400 | 1.032%
Division subtotal |  |  |  |  | 19520
06 FINISHES
Vinyl plank flooring on T&G plywood underlayment | DIV 09-FV | 800 | SF | 6.5 | 5200 | 2.237%
Carpet — bedrooms | DIV 09-FC | 400 | SF | 4 | 1600 | 0.6883%
Ceramic tile — bathrooms and kitchen | DIV 09-FT | 220 | SF | 9 | 1980 | 0.8517%
Paint — walls, ceilings, trim | DIV 09-PT | 2600 | SF | 3.2 | 8320 | 3.579%
Trim and millwork — base, casing | DIV 06-TM | 1 | LS | 4200 | 4200 | 1.807%
Division subtotal |  |  |  |  | 21300
Merge 4 Design LLC · M4Di Construction ROM · Project M2-2026-016 · Issued 23 July 2026 · Page 3 of 4
07 KITCHEN & BATHS
Kitchen — cabinets, countertops, sink | DIV 12-KC | 1 | LS | 12000 | 12000 | 5.162%
Range and hood | DIV 11-AP | 1 | EA | 1800 | 1800 | 0.7743%
Full bath — vanity, toilet, tub, tile | DIV 12-BF | 1 | EA | 8500 | 8500 | 3.656%
Powder room — vanity and toilet | DIV 12-BP | 1 | EA | 3800 | 3800 | 1.635%
Master bath — vanity, toilet, tub/shower, tile | DIV 12-BM | 1 | EA | 9500 | 9500 | 4.087%
Division subtotal |  |  |  |  | 35600
08 PLUMBING
Gas hot water heater | DIV 22-WH | 1 | EA | 2200 | 2200 | 0.9464%
PEX supply piping — full distribution | DIV 22-SP | 1 | LS | 6500 | 6500 | 2.796%
PVC drain, waste and vent system | DIV 22-DV | 1 | LS | 8500 | 8500 | 3.656%
Fixture rough-in | DIV 22-RI | 1 | LS | 2800 | 2800 | 1.204%
Sump pump — replace and reconnect | DIV 22-SU | 1 | EA | 1200 | 1200 | 0.5162%
Division subtotal |  |  |  |  | 21200
09 HVAC
Gas furnace — forced air | DIV 23-FA | 1 | EA | 5500 | 5500 | 2.366%
Condenser and evaporator coil | DIV 23-AC | 1 | EA | 4800 | 4800 | 2.065%
Ductwork — supply and return, all floors | DIV 23-DW | 1 | LS | 9500 | 9500 | 4.087%
Registers, grilles, programmable thermostat | DIV 23-TR | 1 | LS | 1800 | 1800 | 0.7743%
Bathroom exhaust fans | DIV 23-EF | 3 | EA | 350 | 1050 | 0.4517%
Division subtotal |  |  |  |  | 22650
10 ELECTRICAL
200A panel — service upgrade | DIV 26-SV | 1 | EA | 4500 | 4500 | 1.936%
Branch wiring — circuits throughout | DIV 26-BW | 1 | LS | 12000 | 12000 | 5.162%
Outlets, switches, devices | DIV 26-DV | 1 | LS | 3200 | 3200 | 1.377%
Lighting fixtures — allowance | DIV 26-LT | 1 | LS | 4500 | 4500 | 1.936%
Smoke and CO detectors per code | DIV 26-SD | 1 | LS | 800 | 800 | 0.3441%
Kitchen appliance circuits | DIV 26-AC | 1 | LS | 1200 | 1200 | 0.5162%
Division subtotal |  |  |  |  | 26200
TOTAL DIRECT CONSTRUCTION COST |  |  |  |  | 232470
Exclusions
— Hazardous materials survey, abatement or disposal (lead, asbestos) — structure predates 1978
— Structural engineering design and stamped calculations
— Site work, landscaping, driveway, fencing and utility service laterals
— Appliances beyond range and hood; window treatments; furnishings
— Owner-directed upgrades above stated allowances
— Escalation beyond estimate date; permit expediting; financing and carrying costs
Merge 4 Design LLC · M4Di Construction ROM · Project M2-2026-016 · Issued 23 July 2026 · Page 4 of 4