|  | MERGE 4 DESIGN LLC · M4Di™ · AUBYN ARCHITECTURE LLC TOWNHOUSE CONSTRUCTION INSPECTION LOG Foundation to Final Inspection · All phases must be approved before proceeding CONFIDENTIAL — FOR OFFICIAL USE ONLY |
| --- | --- |

PROJECT INFORMATION

| Project Name: |  | Project Address: |  |
| --- | --- | --- | --- |
| Permit Number: |  | General Contractor: |  |
| Inspector Name: |  | Inspection Date: |  |
| AOR: |  | Weather Conditions: |  |

|  | PHASE 1 FOUNDATION INSPECTIONS |
| --- | --- |

|  | 1A FOOTING INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Trench depth meets code requirements | ☐ | ☐ | ☐ |  |  |
| Trench width meets code requirements | ☐ | ☐ | ☐ |  |  |
| Soil bearing capacity verified | ☐ | ☐ | ☐ |  |  |
| Bottom of trench free of loose material / standing water | ☐ | ☐ | ☐ |  |  |
| Rebar size and grade correct per plans | ☐ | ☐ | ☐ |  |  |
| Rebar placement and spacing correct | ☐ | ☐ | ☐ |  |  |
| Rebar lap splices meet minimum length | ☐ | ☐ | ☐ |  |  |
| Rebar tied and properly supported (chairs/spacers) | ☐ | ☐ | ☐ |  |  |
| Minimum concrete cover maintained | ☐ | ☐ | ☐ |  |  |
| Setback from property lines verified | ☐ | ☐ | ☐ |  |  |
| Forms properly braced and aligned | ☐ | ☐ | ☐ |  |  |
| Footing dimensions match approved plans | ☐ | ☐ | ☐ |  |  |

|  | 1B FOUNDATION WALL INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Wall thickness matches approved plans | ☐ | ☐ | ☐ |  |  |
| Wall height meets code requirements | ☐ | ☐ | ☐ |  |  |
| Anchor bolt size correct (diameter and length) | ☐ | ☐ | ☐ |  |  |
| Anchor bolt spacing correct per code/plans | ☐ | ☐ | ☐ |  |  |
| Anchor bolt embedment depth correct | ☐ | ☐ | ☐ |  |  |
| Anchor bolts plumb and properly positioned | ☐ | ☐ | ☐ |  |  |
| Anchor bolt edge distance from end of sill plate adequate | ☐ | ☐ | ☐ |  |  |
| Foundation wall plumb and straight | ☐ | ☐ | ☐ |  |  |
| Horizontal and vertical rebar placement correct | ☐ | ☐ | ☐ |  |  |
| Waterproofing / damp-proofing applied to exterior face | ☐ | ☐ | ☐ |  |  |
| Drain tile / weep system installed at footing | ☐ | ☐ | ☐ |  |  |
| Foundation vents installed (if applicable) | ☐ | ☐ | ☐ |  |  |
| Concrete mix design and strength verified | ☐ | ☐ | ☐ |  |  |
| Cold joint treatment (if applicable) | ☐ | ☐ | ☐ |  |  |

|  | PHASE 2 FRAMING INSPECTIONS |
| --- | --- |

|  | 2A SLAB / SUBFLOOR INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Sub-base compaction verified | ☐ | ☐ | ☐ |  |  |
| Vapor barrier installed correctly | ☐ | ☐ | ☐ |  |  |
| Under-slab plumbing installed and pressure tested | ☐ | ☐ | ☐ |  |  |
| Rebar / wire mesh placed per plans | ☐ | ☐ | ☐ |  |  |
| Slab thickness correct | ☐ | ☐ | ☐ |  |  |
| Slab control joints located correctly | ☐ | ☐ | ☐ |  |  |

|  | 2B STRUCTURAL FRAMING INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Sill plate size and species correct | ☐ | ☐ | ☐ |  |  |
| Sill plate anchor bolt washers and nuts installed | ☐ | ☐ | ☐ |  |  |
| Sill plate PT (pressure-treated) where required | ☐ | ☐ | ☐ |  |  |
| Floor joist size, spacing, and span correct | ☐ | ☐ | ☐ |  |  |
| Rim joist / blocking installed | ☐ | ☐ | ☐ |  |  |
| Bearing walls aligned over foundation / beams | ☐ | ☐ | ☐ |  |  |
| Wall stud size, spacing, and height correct | ☐ | ☐ | ☐ |  |  |
| Headers correct size over openings | ☐ | ☐ | ☐ |  |  |
| Double top plate laps spliced correctly | ☐ | ☐ | ☐ |  |  |
| Corner framing and intersecting wall framing correct | ☐ | ☐ | ☐ |  |  |
| Ceiling joist / roof rafter size and spacing correct | ☐ | ☐ | ☐ |  |  |
| Ridge board / beam correct size | ☐ | ☐ | ☐ |  |  |
| Collar ties / rafter ties installed | ☐ | ☐ | ☐ |  |  |
| Roof sheathing thickness correct | ☐ | ☐ | ☐ |  |  |
| Wall sheathing thickness and nailing correct | ☐ | ☐ | ☐ |  |  |
| Hurricane / seismic straps / hold-downs installed | ☐ | ☐ | ☐ |  |  |
| Staircase framing: rise, run, and width correct | ☐ | ☐ | ☐ |  |  |
| Fire blocking installed at required locations | ☐ | ☐ | ☐ |  |  |
| Draft stopping installed where required | ☐ | ☐ | ☐ |  |  |
| Garage / unit separation wall (fire-rated) correct | ☐ | ☐ | ☐ |  |  |

|  | PHASE 3 ROUGH-IN MEP INSPECTIONS |
| --- | --- |

|  | 3A ROUGH PLUMBING INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Supply pipe size, material, and support correct | ☐ | ☐ | ☐ |  |  |
| DWV pipe size, slope, and material correct | ☐ | ☐ | ☐ |  |  |
| Water supply pressure test passed | ☐ | ☐ | ☐ |  |  |
| DWV system air / water test passed | ☐ | ☐ | ☐ |  |  |
| Cleanouts installed at required locations | ☐ | ☐ | ☐ |  |  |
| Vent piping extends through roof correctly | ☐ | ☐ | ☐ |  |  |
| Hose bib frost-proof locations correct | ☐ | ☐ | ☐ |  |  |
| Laundry / dishwasher supply and drain roughed in | ☐ | ☐ | ☐ |  |  |

|  | 3B ROUGH ELECTRICAL INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Panel size and location correct | ☐ | ☐ | ☐ |  |  |
| Service entrance conductor size correct | ☐ | ☐ | ☐ |  |  |
| Grounding electrode system installed | ☐ | ☐ | ☐ |  |  |
| Branch circuit wiring method correct | ☐ | ☐ | ☐ |  |  |
| Wire gauge correct for circuit amperage | ☐ | ☐ | ☐ |  |  |
| Outlet / switch box locations per plan | ☐ | ☐ | ☐ |  |  |
| Box fill calculations acceptable | ☐ | ☐ | ☐ |  |  |
| AFCI breakers / outlets installed where required | ☐ | ☐ | ☐ |  |  |
| GFCI outlets installed in required locations | ☐ | ☐ | ☐ |  |  |
| Smoke detector wiring roughed in | ☐ | ☐ | ☐ |  |  |
| CO detector wiring roughed in | ☐ | ☐ | ☐ |  |  |
| Doorbell / low-voltage wiring roughed in | ☐ | ☐ | ☐ |  |  |

|  | 3C ROUGH MECHANICAL / HVAC INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Equipment location and clearances correct | ☐ | ☐ | ☐ |  |  |
| Duct material, size, and sealing correct | ☐ | ☐ | ☐ |  |  |
| Supply and return air layout per plan | ☐ | ☐ | ☐ |  |  |
| Bath / kitchen exhaust fan wiring and duct roughed in | ☐ | ☐ | ☐ |  |  |
| Dryer exhaust duct routing and material correct | ☐ | ☐ | ☐ |  |  |
| Combustion air provisions (if applicable) | ☐ | ☐ | ☐ |  |  |
| Gas pipe size, material, and pressure test passed | ☐ | ☐ | ☐ |  |  |
| Thermostat wiring roughed in | ☐ | ☐ | ☐ |  |  |

|  | PHASE 4 EXTERIOR & ENVELOPE INSPECTIONS |
| --- | --- |

|  | 4A EXTERIOR ENVELOPE INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| House wrap / weather-resistant barrier installed correctly | ☐ | ☐ | ☐ |  |  |
| House wrap laps correct (upper over lower) | ☐ | ☐ | ☐ |  |  |
| Window and door flashing installed correctly | ☐ | ☐ | ☐ |  |  |
| Windows installed plumb, level, and square | ☐ | ☐ | ☐ |  |  |
| Exterior doors installed plumb, level, and square | ☐ | ☐ | ☐ |  |  |
| Roofing underlayment installed correctly | ☐ | ☐ | ☐ |  |  |
| Drip edge installed at eaves and rakes | ☐ | ☐ | ☐ |  |  |
| Flashing at roof penetrations (chimneys, vents, valleys) | ☐ | ☐ | ☐ |  |  |
| Roof shingles / material installed per manufacturer | ☐ | ☐ | ☐ |  |  |
| Gutters and downspouts installed (if applicable) | ☐ | ☐ | ☐ |  |  |
| Exterior cladding / siding installed correctly | ☐ | ☐ | ☐ |  |  |
| Grade slopes away from foundation (min. 6" in 10') | ☐ | ☐ | ☐ |  |  |

|  | PHASE 5 INSULATION INSPECTION |
| --- | --- |

|  | 5A INSULATION INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Insulation type and R-value correct for location | ☐ | ☐ | ☐ |  |  |
| Exterior wall insulation coverage complete | ☐ | ☐ | ☐ |  |  |
| Ceiling / attic insulation R-value and coverage correct | ☐ | ☐ | ☐ |  |  |
| Floor insulation (over crawl or garage) correct | ☐ | ☐ | ☐ |  |  |
| Vapor retarder installed where required | ☐ | ☐ | ☐ |  |  |
| Air sealing at all penetrations completed | ☐ | ☐ | ☐ |  |  |
| Rim joist / band joist insulated and air-sealed | ☐ | ☐ | ☐ |  |  |
| Attic baffles installed at eaves | ☐ | ☐ | ☐ |  |  |

|  | PHASE 6 DRYWALL / WALLBOARD INSPECTION |
| --- | --- |

|  | 6A DRYWALL INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Drywall type correct (standard, moisture-resistant, fire-rated) | ☐ | ☐ | ☐ |  |  |
| Fire-rated assembly construction correct (garage / party wall) | ☐ | ☐ | ☐ |  |  |
| Fastener type and spacing correct | ☐ | ☐ | ☐ |  |  |
| Drywall backing provided at all edges | ☐ | ☐ | ☐ |  |  |
| Corners and returns blocked | ☐ | ☐ | ☐ |  |  |
| Ceiling drywall properly supported | ☐ | ☐ | ☐ |  |  |

|  | PHASE 7 FINAL INSPECTIONS |
| --- | --- |

|  | 7A FINAL PLUMBING INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| All fixtures installed and functional | ☐ | ☐ | ☐ |  |  |
| No visible leaks at supply or drain connections | ☐ | ☐ | ☐ |  |  |
| Water heater properly installed, T&P valve and discharge pipe correct | ☐ | ☐ | ☐ |  |  |
| Water heater seismic strapping (if required) | ☐ | ☐ | ☐ |  |  |
| Backflow preventer installed where required | ☐ | ☐ | ☐ |  |  |
| All cleanout access maintained | ☐ | ☐ | ☐ |  |  |
| Final pressure test passed | ☐ | ☐ | ☐ |  |  |

|  | 7B FINAL ELECTRICAL INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Panel labeled completely and accurately | ☐ | ☐ | ☐ |  |  |
| All outlets, switches, and fixtures operational | ☐ | ☐ | ☐ |  |  |
| GFCI outlets tested and functional | ☐ | ☐ | ☐ |  |  |
| AFCI breakers / outlets tested and functional | ☐ | ☐ | ☐ |  |  |
| Smoke detectors installed, interconnected, and tested | ☐ | ☐ | ☐ |  |  |
| CO detectors installed per code and tested | ☐ | ☐ | ☐ |  |  |
| Exhaust fans operational | ☐ | ☐ | ☐ |  |  |
| Exterior GFCI outlets weatherproofed | ☐ | ☐ | ☐ |  |  |
| Panel cover installed | ☐ | ☐ | ☐ |  |  |
| Arc-fault protection verified | ☐ | ☐ | ☐ |  |  |

|  | 7C FINAL MECHANICAL / HVAC INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| HVAC system operational and balanced | ☐ | ☐ | ☐ |  |  |
| Heating / cooling capacity adequate | ☐ | ☐ | ☐ |  |  |
| All exhaust fans operational | ☐ | ☐ | ☐ |  |  |
| Dryer exhaust functional | ☐ | ☐ | ☐ |  |  |
| Gas appliances operational and combustion tested | ☐ | ☐ | ☐ |  |  |
| CO / gas leak test passed | ☐ | ☐ | ☐ |  |  |
| Thermostat operational | ☐ | ☐ | ☐ |  |  |
| Filter access clear | ☐ | ☐ | ☐ |  |  |

|  | 7D FINAL BUILDING INSPECTION |
| --- | --- |

| Inspection Item | Pass | Fail | N/A | Initials | Notes / Corrective Action |
| --- | --- | --- | --- | --- | --- |
| Staircase rise / run / handrail meets code | ☐ | ☐ | ☐ |  |  |
| Guardrails installed at required locations and heights | ☐ | ☐ | ☐ |  |  |
| Egress windows size and operation correct | ☐ | ☐ | ☐ |  |  |
| Garage door auto-reverse safety tested | ☐ | ☐ | ☐ |  |  |
| Attic access provided and insulated | ☐ | ☐ | ☐ |  |  |
| Crawlspace access provided (if applicable) | ☐ | ☐ | ☐ |  |  |
| All penetrations fire-stopped | ☐ | ☐ | ☐ |  |  |
| Address numbers visible from street | ☐ | ☐ | ☐ |  |  |
| Final grading and drainage correct | ☐ | ☐ | ☐ |  |  |
| Driveway / walkway completed (if applicable) | ☐ | ☐ | ☐ |  |  |
| All construction debris removed | ☐ | ☐ | ☐ |  |  |
| Final cleanup completed | ☐ | ☐ | ☐ |  |  |

|  | SIGN-OFF APPROVALS & SIGNATURES |
| --- | --- |

| Role | Name (Print) | Signature | Date |
| --- | --- | --- | --- |
| Building Inspector |  |  |  |
| Plumbing Inspector |  |  |  |
| Electrical Inspector |  |  |  |
| Mechanical Inspector |  |  |  |
| General Contractor |  |  |  |
| Project Architect / Engineer |  |  |  |

GENERAL NOTES

GENERAL NOTES

|  | AHJ REQUIREMENT No work shall proceed to the next phase until all items in the current phase are approved and signed off by the Authority Having Jurisdiction (AHJ). |
| --- | --- |