## COVER
FORWARD HOME BUILDING SYSTEM
Supplier Cost Tracking File · ALDDB Component Schema · Merge 4 Design LLC × L.E.E.P., Inc.
Opened: June 2026 · Version: 0.1 pre-G4 · Status: WORKING — update at Claymont G4 closeout
WORKBOOK GUIDE
COVER | This sheet — workbook guide and color key
ALDDB_SCHEMA | Master schema — every component row, ALDDB column definitions
WALL_ASSEMBLY | Wall assembly cost tracker — by tier, interior → exterior
CONNECTORS | SAPK connector kit — Simpson + Rothoblaas by tier
FENESTRATION | Windows + doors — Crystal Magnus by tier + supplier quotes
CLADDING | Allura fiber cement — product matrix + volume pricing
HVAC_ENERGY | HVAC, ERV, smart panel, PV, battery — by tier
FIXTURES_FIN | Plumbing, electrical, fixtures, finishes, appliances
VOLUME_PRICING | Volume purchasing analysis — unit count → discount by category
SUPPLIER_DIR | Supplier contact directory — all named vendors
COLOR KEY — Financial model standard
SAMPLE | BLUE TEXT on blue fill — hardcoded input / number you enter
SAMPLE | BLACK TEXT — formula / calculated value (do not overtype)
SAMPLE | GREEN TEXT — cross-sheet link pulling from another tab
SAMPLE | RED TEXT on yellow — quote needed / data missing
SAMPLE | GOLD fill — ROM figure, pre-G4, update at closeout
SAMPLE | GREEN fill — verified / confirmed figure
SAMPLE | NAVY fill — section header / zone label

## ALDDB_SCHEMA
ALDDB — Forward Home Component Schema
Master row definition for every Forward Home wall assembly component. One row per component per tier. G0 ROM → G4 Actual columns track cost evolution through ALDi gates.
Unique ID e.g. WA-T1-001 | System e.g. Wall Assembly | Zone 1-Foundation 2-Panel 3-Cladding 4-SAPK 5-MEP | Component name e.g. ACME SIP 6.5" | T1 / T2 / T3 / T4 / EXP | Supplier name | Supplier SKU or product code | ESR / TER / listing number | Unit of measure SF / EA / LF / LS | G0 ROM cost per unit ($) | ROM source & date | Retail quote ($/unit) + date | Volume quote ($/unit) + date + unit threshold | Volume discount % achieved | G4 actual cost ($/unit) — Claymont | Notes / flags
WA-T1-001 | Wall Assembly | 1-Foundation | CMU / poured foundation wall | T1 | Various | — | IBC Ch.19 | SF | 14.20 | RSMeans 2025 |  |  |  |  | T1 base; Claymont actual to update
WA-T2-001 | Wall Assembly | 1-Foundation | Superior Walls Xi Plus | T2 | Superior Walls of America | Xi Plus | TER 2211-02 | SF | 28.40 | ROM Jun 2026 |  |  |  |  | TER renewal Oct 1 2026 — verify
WA-T3-001 | Wall Assembly | 1-Foundation | Superior Walls Xi Plus | T3 | Superior Walls of America | Xi Plus | TER 2211-02 | SF | 28.40 | ROM Jun 2026 |  |  |  |  | Same as T2
WA-T4-001 | Wall Assembly | 1-Foundation | Superior Walls Xi Plus + cistern footing | T4 | Superior Walls of America | Xi Plus | TER 2211-02 | SF | 28.40 | ROM Jun 2026 |  |  |  |  | Cistern footing integrated
WA-EX-001 | Wall Assembly | 1-Foundation | Concrete slab + moisture barrier | EXP | Local/Jamaica | — | ASTM C150 | SF | 6.40 | ROM Jun 2026 |  |  |  |  | Caribbean export baseline
SA-ALL-001 | Wall Assembly | 1-Foundation | Simpson MASOZ mudsill anchor | ALL | Simpson Strong-Tie | MASOZ | ESR-2555 | EA | 4.80 | ROM Jun 2026 |  |  |  |  | Pre-install at hub on panel
SA-ALL-002 | Wall Assembly | 1-Foundation | Simpson MASOZ G185 — export | EXP | Simpson Strong-Tie | MASOZ-G185 | ESR-2555 | EA | 5.60 | ROM Jun 2026 |  |  |  |  | G185 tropical coating
SA-ALL-003 | Wall Assembly | 1-Foundation | SIGA TEAKstrip sill capillary break | T2 | Rothoblaas / SIGA | TEAKstrip | Per mfr | LF | 3.20 | ROM Jun 2026 |  |  |  |  | T2+ only
WA-ALL-010 | Wall Assembly | 2-Panel | ½" Type X GWB — factory hung | ALL | National Gypsum / USG | — | UL listed | SF | 2.60 | ROM Jun 2026 |  |  |  |  | Hub pre-hung; site: tape+mud only
WA-ALL-011 | Wall Assembly | 2-Panel | ACME 6.5" SIP Neopor GPS | ALL | ACME Panel | 6.5-N-OSB | ESR-4689 | SF | 9.80 | ROM Jun 2026 |  |  |  |  | G0 ROM — update at G4 with Claymont actual
WA-ALL-012 | Wall Assembly | 2-Panel | 2×6 SPF-S framing @ 16" OC | T1 | Lumber yard | #2 SPF-S | IRC R602 | BF | 2.40 | ROM Jun 2026 |  |  |  |  | Type A/B only; CLT for Type C/D
WA-ALL-013 | Wall Assembly | 2-Panel | TerraLam TL500S CLT spine | ALL | TerraLam | TL500S 5-ply | ESR-5053 | SF | 18.40 | ROM Jun 2026 |  |  |  |  | Type C/D structural spine
WA-ALL-014 | Wall Assembly | 2-Panel | R-23 blown fiberglass cavity | T1 | Various | — | IECC CZ4 | SF | 2.10 | ROM Jun 2026 |  |  |  |  | T1 base cavity insulation
WA-ALL-015 | Wall Assembly | 2-Panel | Rockwool Comfortbatt R-23 mineral wool | T2 | Rockwool | Comfortbatt R-23 | ASTM C665 | SF | 3.20 | ROM Jun 2026 |  |  |  |  | T2+ upgrade — fire + vapor
WA-ALL-016 | Wall Assembly | 2-Panel | Barricade Thermo-Brace SIB R-5 | ALL | Barricade / INDEVCO | Thermo-Brace Blue SIB | TER 1507-09 | SF | 3.20 | ROM Jun 2026 |  |  |  |  | TER renewal — verify at drjcertification.org
WA-ALL-017 | Wall Assembly | 2-Panel | Prosoco R-Guard fluid WRB at penetrations | T2 | Prosoco | R-Guard FastFlash | ICC listed | LS | 0.80 | ROM Jun 2026 |  |  |  |  | T2+ at all penetrations
WA-T3-010 | Wall Assembly | 2-Panel | Pro Clima Intello+ air barrier membrane | T3 | Pro Clima | Intello Plus | ICC listed | SF | 1.80 | ROM Jun 2026 |  |  |  |  | T3+ airtight junctions
WA-T3-011 | Wall Assembly | 2-Panel | DuPont ArmorWall Plus FR SIS 2¾" R-15 | T3 | DuPont | ArmorWall Plus FR 2¾" | ESL-1302+1442 | SF | 11.40 | ROM Jun 2026 |  |  |  |  | T3 outboard CI; NFPA 285 compliant
WA-T4-011 | Wall Assembly | 2-Panel | DuPont ArmorWall Plus FR SIS 3¾" R-21 | T4 | DuPont | ArmorWall Plus FR 3¾" | ESL-1302 | SF | 14.20 | ROM Jun 2026 |  |  |  |  | T4 max CI tier
WA-ALL-018 | Wall Assembly | 2-Panel | 8" CMU party wall — continuous | ALL | CMU supplier | 8" CMU | IBC Ch.21 | SF | 14.20 | ROM Jun 2026 |  |  |  |  | Foundation to underside SIP roof
WA-T2-018 | Wall Assembly | 2-Panel | Thermafiber 4" + Hilti FS-ONE MAX | T2 | Thermafiber / Hilti | RainBarrier / FS-ONE MAX | UL listed | SF | 3.60 | ROM Jun 2026 |  |  |  |  | T2 party wall upgrade
WA-T3-018 | Wall Assembly | 2-Panel | Huber EXACOR MGO party wall face | T3 | Huber Engineered Woods | EXACOR | ESR-4635 | SF | 4.80 | ROM Jun 2026 |  |  |  |  | 2-hr ASTM E119
CL-ALL-001 | Cladding | 3-Cladding | Allura Lap 7" — factory primed | T1 | Allura USA | Allura Lap 7" | ASTM E84 CL-A | SF | 7.50 | ROM Jun 2026 |  |  |  |  | 50-yr warranty; 1" rainscreen req.
CL-ALL-002 | Cladding | 3-Cladding | Allura Panel — Spectrum pre-finished | T2 | Allura USA | Allura Panel Spectrum | ASTM E84 CL-A | SF | 9.20 | ROM Jun 2026 |  |  |  |  | No field paint; direct to SIB
CL-ALL-003 | Cladding | 3-Cladding | Allura Panel + Shakes — Spectrum | T3 | Allura USA | Allura Panel + Shakes | ASTM E84 CL-A | SF | 11.80 | ROM Jun 2026 |  |  |  |  | Direct attach to ArmorWall MgO face
CL-ALL-004 | Cladding | 3-Cladding | Allura Trim at all openings | ALL | Allura USA | Allura Trim | ASTM E84 CL-A | LF | 4.20 | ROM Jun 2026 |  |  |  |  | All tiers
CL-ALL-005 | Cladding | 3-Cladding | Allura Soffit at overhangs | T2 | Allura USA | Allura Soffit | ASTM E84 CL-A | SF | 5.40 | ROM Jun 2026 |  |  |  |  | T2+ all overhangs
CL-EXP-001 | Cladding | 3-Cladding | Allura FC tropical — G235 fasteners | EXP | Allura USA | Allura Panel tropical | ASTM E84 CL-A | SF | 6.80 | ROM Jun 2026 |  |  |  |  | MANDATORY Caribbean; ICC 500 req.
SA-T1-001 | SAPK Connector | 4-SAPK | Simpson HTT4 hold-down | T1 | Simpson Strong-Tie | HTT4 | ESR-1188 | EA | 28.40 | ROM Jun 2026 |  |  |  |  | CFS stud to foundation at shear wall ends
SA-T2-001 | SAPK Connector | 4-SAPK | Simpson HTT5 hold-down | T2 | Simpson Strong-Tie | HTT5 | ESR-1188 | EA | 34.20 | ROM Jun 2026 |  |  |  |  | T2–T3 higher load
SA-T4-001 | SAPK Connector | 4-SAPK | Simpson HTT22 hold-down | T4 | Simpson Strong-Tie | HTT22 | ESR-1188 | EA | 48.60 | ROM Jun 2026 |  |  |  |  | T4 max load off-grid shear wall
SA-ALL-010 | SAPK Connector | 4-SAPK | Simpson SCLC stair cassette ledger | ALL | Simpson Strong-Tie | SCLC | C-C-2024 | EA | 18.40 | ROM Jun 2026 |  |  |  |  | Hub-built cassette; site: lower onto SCLC
SA-ALL-011 | SAPK Connector | 4-SAPK | Simpson SDWS timber screw | ALL | Simpson Strong-Tie | SDWS22300DB | IAPMO ER-192 | EA | 1.20 | ROM Jun 2026 |  |  |  |  | CLT-to-CLT surface splines
SA-T3-011 | SAPK Connector | 4-SAPK | Simpson SDHR Combo-Head — T3 | T3 | Simpson Strong-Tie | SDHR | IAPMO ER-192 | EA | 1.60 | ROM Jun 2026 |  |  |  |  | Metal plate to CLT; black e-coat
SA-T4-011 | SAPK Connector | 4-SAPK | Simpson SDHR Combo-Head — T4 | T4 | Simpson Strong-Tie | SDHR | IAPMO ER-192 | EA | 1.60 | ROM Jun 2026 |  |  |  |  | Same; A4 stainless spec T4
SA-ALL-012 | SAPK Connector | 4-SAPK | Simpson SDS Heavy-Duty screw | ALL | Simpson Strong-Tie | SDS25300 | ESR-1374 | EA | 0.80 | ROM Jun 2026 |  |  |  |  | CFS-to-wood; stair cassette fastening
SA-ALL-020 | SAPK Connector | 4-SAPK | Rothoblaas ALUMEGA concealed connector | ALL | Rothoblaas | ALUMEGA | ESR-4546 / AC233 | EA | 48.00 | ROM Jun 2026 |  |  |  |  | CLT-to-CFS top track bearing; fire-documented
SA-T3-020 | SAPK Connector | 4-SAPK | Rothoblaas ALUMEGA + HBS PLATE EVO | T3 | Rothoblaas | ALUMEGA / HBS-PLT-EVO | ESR-4546 / AC257 | EA | 54.00 | ROM Jun 2026 |  |  |  |  | C4 corrosion class; EVO coating
SA-T4-020 | SAPK Connector | 4-SAPK | Rothoblaas ALUMEGA + HBS PLATE A4 | T4 | Rothoblaas | ALUMEGA / HBS-PLT-A4 | ESR-4546 | EA | 62.00 | ROM Jun 2026 |  |  |  |  | A4 stainless; coastal + off-grid
SA-EXP-020 | SAPK Connector | 4-SAPK | Rothoblaas ALUMEGA A4 — export | EXP | Rothoblaas | ALUMEGA-A4 | ESR-4546 | EA | 62.00 | ROM Jun 2026 |  |  |  |  | Caribbean salt-air service class
SA-ALL-021 | SAPK Connector | 4-SAPK | Rothoblaas SIGA Rissan airtight tape | T2 | Rothoblaas | SIGA Rissan 60 | Per mfr | LF | 2.80 | ROM Jun 2026 |  |  |  |  | SIP joint airtight tape T2+
SA-T3-021 | SAPK Connector | 4-SAPK | Rothoblaas SIGA FENTRIM IS | T3 | Rothoblaas | SIGA FENTRIM IS 30 | Per mfr | LF | 3.20 | ROM Jun 2026 |  |  |  |  | Window/door perimeter airtight T3+
SA-T3-022 | SAPK Connector | 4-SAPK | SIGA MAJREX smart vapor retarder | T3 | Rothoblaas | SIGA MAJREX 200 | Per mfr | SF | 1.80 | ROM Jun 2026 |  |  |  |  | Inboard smart VR T3+
SA-ALL-022 | SAPK Connector | 4-SAPK | Rothoblaas INFI tape — export | EXP | Rothoblaas | INFI | Per mfr | LF | 2.40 | ROM Jun 2026 |  |  |  |  | Tropical deployment airtight
FE-T1-001 | Fenestration | — | Crystal Magnus 4500 double-pane tilt-turn | T1 | Crystal Windows | Magnus 4500 | NFRC / PG70 | EA | 420.00 | ROM Jun 2026 |  |  |  |  | U≤0.20; STC 41dB; HVHZ approved
FE-T2-001 | Fenestration | — | Crystal Magnus 4500 triple-pane | T2 | Crystal Windows | Magnus 4500 TP | NFRC / PG70 | EA | 560.00 | ROM Jun 2026 |  |  |  |  | U≤0.18; krypton fill
FE-T3-001 | Fenestration | — | Crystal Magnus 4700 PH certified | T3 | Crystal Windows | Magnus 4700 | NFRC / PH cert | EA | 720.00 | ROM Jun 2026 |  |  |  |  | U≤0.14; REHAU RAU-FIPRO fiber profile
FE-T1-010 | Fenestration | — | Magnus 4500 swing door — double-pane | T1 | Crystal Windows | Magnus 4500 door | NFRC | EA | 1200.00 | ROM Jun 2026 |  |  |  |  | U≤0.28
FE-T2-010 | Fenestration | — | Magnus 4500 tilt-slide door — triple-pane | T2 | Crystal Windows | Magnus 4500 TS | NFRC | EA | 1600.00 | ROM Jun 2026 |  |  |  |  | U≤0.20
FE-T3-010 | Fenestration | — | Magnus 4700 PH swing/tilt-slide | T3 | Crystal Windows | Magnus 4700 door | NFRC / PH cert | EA | 2100.00 | ROM Jun 2026 |  |  |  |  | U≤0.16
FE-ALL-020 | Fenestration | — | Pre-hung interior door — solid-core + Schlage | ALL | Various / Schlage | B60N series | — | EA | 280.00 | ROM Jun 2026 |  |  |  |  | Hub pre-hung; hardware pre-installed
FE-T2-020 | Fenestration | — | Schlage Encode Plus smart lock | T2 | Schlage | BE489WB | — | EA | 240.00 | ROM Jun 2026 |  |  |  |  | T2+ exterior; factory-programmed at hub
ME-T1-001 | HVAC | — | Standard cold-climate mini-split SEER2 ≥18 | T1 | Various | — | Energy Star | EA | 2800.00 | ROM Jun 2026 |  |  |  |  | HSPF2 ≥10; ductless; -5°F min
ME-T2-001 | HVAC | — | Quilt 3-Zone SEER2 25.3 | T2 | Quilt | 3-Zone | Energy Star CE Most Eff 2026 | EA | 4200.00 | ROM Jun 2026 |  |  |  |  | HSPF2 12; 100%@-5°F; 52dBA
ME-T3-001 | HVAC | — | Mitsubishi FX H2i sumo SEER2 29.9 | T3 | Mitsubishi Electric | FX-Series H2i sumo | Diamond Contractor | EA | 6400.00 | ROM Jun 2026 |  |  |  |  | HSPF2 ~12; R454B; 10-yr warranty
ME-T4-001 | HVAC | — | Quilt 3-zone battery-optimized | T4 | Quilt | 3-Zone | Energy Star CE Most Eff 2026 | EA | 4200.00 | ROM Jun 2026 |  |  |  |  | OTA island-mode integration SPAN
ME-T2-010 | HVAC | — | Viessmann Vitoair FS-ERV | T2 | Viessmann | Vitoair FS-ERV | ASHRAE 62.2 | EA | 2400.00 | ROM Jun 2026 |  |  |  |  | 85% SRE; MERV 13; CO₂-boost
ME-ALL-020 | HVAC | — | HPWH 50-gal UEF ≥3.5 | ALL | A.O. Smith / Rheem | ProLine XE series | Energy Star | EA | 1800.00 | ROM Jun 2026 |  |  |  |  | All tiers base DHW
ME-T2-030 | Smart Energy | — | SPAN Main 40 smart panel | T2 | SPAN | SPAN Main 40 | UL 3141 | EA | 3800.00 | ROM Jun 2026 |  |  |  |  | 32 circuits; battery-aware; Eaton-backed
ME-T2-040 | Smart Energy | — | Enphase IQ8 microinverter PV 5.5kW | T2 | Enphase | IQ8A-72-2-US | UL 1741 | LS | 15600.00 | ROM Jun 2026 |  |  |  |  | 5.5kW per unit; net metering
ME-T3-040 | Smart Energy | — | TOPCon/HJT PV 8.5kW + Enphase IQ8 | T3 | Enphase + panel | IQ8A-72-2-US | UL 1741 | LS | 24000.00 | ROM Jun 2026 |  |  |  |  | ≥22% efficiency panels
ME-T4-040 | Smart Energy | — | Agrivoltaic trellis PV 8.5–12kW bifacial | T4 | TOPCon bifacial | — | UL 1741 | LS | 28000.00 | ROM Jun 2026 |  |  |  |  | Elevated E/W trellis; Crop Circle below
ME-T2-050 | Storage | — | Enphase IQ Battery 5P — stackable | T2 | Enphase | IQ Battery 5P | UL 9540 | EA | 9800.00 | ROM Jun 2026 |  |  |  |  | 15-yr warranty; NEMA 3R
ME-T3-050 | Storage | — | Tesla Powerwall 3 (alt) | T3 | Tesla | Powerwall 3 | UL 9540 | EA | 10800.00 | ROM Jun 2026 |  |  |  |  | 13.5kWh; built-in inverter; island-capable
ME-T4-050 | Storage | — | EcoFlow DELTA Pro Ultra + FranklinWH aPower 2 | T4 | EcoFlow / FranklinWH | DELTA Pro Ultra | UL listed | LS | 18000.00 | ROM Jun 2026 |  |  |  |  | 19.2–90kWh expandable; true off-grid
FF-ALL-001 | Fixtures | — | Prefab wet wall module — PEX manifold + DWV | ALL | Hub fabricated | PEX-a manifold | IAPMO | EA | 2400.00 | ROM Jun 2026 |  |  |  |  | Factory assembled + pressure tested at hub
FF-ALL-002 | Fixtures | — | HPWH — positioned in pre-framed chase | ALL | A.O. Smith | ProLine XE 50 | Energy Star | EA | 1800.00 | ROM Jun 2026 |  |  |  |  | Chase pre-framed at hub
FF-ALL-010 | Finishes | — | GWB ½" Type X — factory hung at hub | ALL | National Gypsum | Hi-Abuse XP | UL listed | SF | 2.60 | ROM Jun 2026 |  |  |  |  | Hub-hung; site: tape+mud+paint only
FF-ALL-011 | Finishes | — | LVT COREtec Plus Enhanced 6"×48" | ALL | COREtec | Plus Enhanced | ASTM F1700 | SF | 4.80 | ROM Jun 2026 |  |  |  |  | Pre-cut per room at hub
FF-ALL-012 | Finishes | — | Schluter DITRA uncoupling mat — bath | T2 | Schluter | DITRA | ANSI A118.10 | SF | 3.20 | ROM Jun 2026 |  |  |  |  | Pre-cut at hub for bath module
FF-ALL-013 | Finishes | — | RTA kitchen cabinets — Fabuwood Allure Fusion | ALL | Fabuwood | Allure Fusion | KCMA A161.1 | LS | 6400.00 | ROM Jun 2026 |  |  |  |  | Hub-assembled; Blum hinges pre-installed
FF-ALL-014 | Finishes | — | Quartz countertop — Silestone Eternal White 3cm | ALL | Silestone | Eternal White 3cm | NSF/ANSI 51 | LF | 88.00 | ROM Jun 2026 |  |  |  |  | Fabricated to hub cabinet template
FF-ALL-015 | Finishes | — | Appliance bundle — Samsung builder account | ALL | Samsung | Builder spec | — | LS | 2800.00 | ROM Jun 2026 |  |  |  |  | Fridge + range + dishwasher; 18–24% below retail
FF-ALL-016 | Finishes | — | Exterior paint — Allura Spectrum pre-finished | ALL | Allura / Sherwin-Williams | Spectrum | — | SF | 0.00 | ROM Jun 2026 |  |  |  |  | Factory-finished; no field paint; $0 field cost
EX-EXP-001 | Export — 4WardCrete | — | AERCON AAC 100mm panel | EXP | AERCON | AAC-100 | ESR-1652 / ASTM E119 | SF | 8.40 | ROM Jun 2026 |  |  |  |  | 3-hr fire; non-combustible; ASTM E136
EX-EXP-002 | Export — 4WardCrete | — | AERCON AAC 125mm panel | EXP | AERCON | AAC-125 | ESR-1652 | SF | 10.20 | ROM Jun 2026 |  |  |  |  | 4-hr fire; party wall export option
EX-EXP-003 | Export — 4WardCrete | — | G235 LGS stud 600S162-54 | EXP | ClarkDietrich / Marino\\WARE | 600S162-54 G235 | AISI S240 / ESR-4205 | LF | 3.60 | ROM Jun 2026 |  |  |  |  | Caribbean HVHZ tropical coating
EX-EXP-004 | Export — 4WardCrete | — | G235 LGS track 600T125-54 | EXP | ClarkDietrich / Marino\\WARE | 600T125-54 G235 | AISI S240 | LF | 2.80 | ROM Jun 2026 |  |  |  |  | Caribbean HVHZ tropical coating
EX-EXP-005 | Export — 4WardCrete | — | #14 Self-drill SD screw G235 | EXP | Simpson Strong-Tie | #14 SD G235 | AISI S240 Table B4.2 | EA | 0.18 | ROM Jun 2026 |  |  |  |  | LGS stud-to-AAC face; tropical coating
EX-EXP-006 | Export — 4WardCrete | — | Container logistics + ALDi QR kit label | EXP | Hub fabricated | — | — | EA | 800.00 | ROM Jun 2026 |  |  |  |  | Per unit container assembly + QR coding

## WALL_ASSEMBLY
Wall Assembly Cost Tracker — $/SF by Tier
ROM figures = blue. Verified figures = black formula. G4 actuals = gold. Enter supplier quotes in QUOTE_RETAIL column on ALDDB_SCHEMA tab.
Layer / Component | T1 Code+ $/SF | T2 Zero $/SF | T3 Positive $/SF | T4 Harvest $/SF | Export $/SF | Notes
── ZONE 1 — FOUNDATION INTERFACE
CMU / poured foundation base | 14.2 | — | — | — | 6.4 | T1 base; EXP = concrete slab
Superior Walls Xi Plus (T2–T4) | — | 28.4 | 28.4 | 28.4 | — | TER 2211-02; renewal Oct 2026
Sill anchor — Simpson MASOZ | 0.6 | 0.6 | 0.6 | 0.6 | 0.64 | $/SF wall; G185 tropical for export
SIGA TEAKstrip capillary break | — | 0.18 | 0.18 | 0.18 | 0.18 | LF converted to $/SF wall est.
── ZONE 2 — WALL PANEL ASSEMBLY
½" Type X GWB — factory hung at hub | 2.6 | 2.6 | 2.6 | 2.6 | 1.8 | EXP = lime wash direct to AAC
ACME 6.5" SIP Neopor GPS core | 9.8 | 9.8 | 9.8 | 9.8 | — | ROM — update at G4 closeout
CLT structural spine (Type C/D) | 3.2 | 3.2 | 3.2 | 3.2 | — | Allocated $/SF wall
AERCON AAC 100mm panel (Export) | — | — | — | — | 8.4 | ESR-1652; 3-hr ASTM E119
G235 LGS structural frame (Export) | — | — | — | — | 7.2 | AISI S240; CUBiC recognized
Cavity insulation (batt / mineral wool) | 2.1 | 3.2 | 3.2 | 3.2 | — | T1 = fiberglass; T2+ = Rockwool
Barricade Thermo-Brace SIB R-5 | 3.2 | 3.8 | 3.8 | 3.8 | — | TER 1507-09; verify renewal
ArmorWall Plus FR SIS 2¾" R-15 (T3) | — | — | 11.4 | — | — | ESL-1302+1442; NFPA 285
ArmorWall Plus FR SIS 3¾" R-21 (T4) | — | — | — | 14.2 | — | ESL-1302; max CI tier
Pro Clima Intello+ air barrier (T3+) | — | — | 1.8 | 1.8 | — | Airtight junctions
8" CMU party wall (all tiers) | 2.8 | 2.8 | 2.8 | 2.8 | — | Allocated $/SF ext wall
── ZONE 3 — CLADDING
Allura Lap (T1) / Panel (T2) / Panel+Shakes (T3+) | 7.5 | 9.2 | 11.8 | 13.2 | 6.8 | Pre-finished Spectrum no field paint
Allura Trim + Soffit | 1.2 | 1.8 | 1.8 | 1.8 | 1.8 | All tiers; EXP = tropical spec
── ZONE 4 — SAPK CONNECTORS
Rothoblaas ALUMEGA + HBS PLATE | 0.9 | 0.9 | 1.1 | 1.4 | 1.4 | A4 SS for T4 + EXP
Simpson HTT hold-down (per tier) | 0.28 | 0.34 | 0.34 | 0.48 | 0.28 | HTT4/5/22 by tier
Airtight tape system (Rtb SIGA) | 0.22 | 0.34 | 0.42 | 0.42 | 0.32 | FENTRIM IS + Rissan by tier
Simpson SCLC stair cassette | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | Hub-built; site: lower onto connector
── ZONE 5 — FACTORY + LABOR
Hub panel assembly (partial factory credit) | 6 | 7.2 | 8.4 | 9.2 | 5.2 | Allocated hub assembly cost/SF
Site installation labor | 5.7 | 5.4 | 7.4 | 8.8 | 6.2 | Crane set + site connections
Modular MEP factory credit (deduct) | -2.8 | -5.4 | -7.2 | -9.8 | -4.2 | SIPA prefab labor data
TOTAL INSTALLED $/SF WALL | $36.20 | $44.60 | $55.80 | $62.40 | $39.80
STICK-FRAME EQUIVALENT | $38.50 | $52.80 | $71.40 | $84.60 | $48.20
SAVINGS VS STICK (with MEP credit) | $5.10 (13%) | $13.60 (26%) | $22.80 (32%) | $32.00 (38%) | $8.40 (17%)

## SUPPLIER_DIR
Supplier Contact Directory — Forward Home Building System
Supplier | Category | Products | Contact / Rep | Phone / Email | Website | Account # | Quote Status
ACME Panel | Wall Assembly | SIP 6.5" Neopor GPS · ESR-4689 | — | — | acmepanel.com | — | QUOTE NEEDED
Barricade Building Products / INDEVCO | Wall Assembly | Thermo-Brace Blue SIB · TER 1507-09 | — | — | barricadebp.com | — | QUOTE NEEDED
Superior Walls of America | Foundation | Xi Plus · TER 2211-02 | — | — | superiorwalls.com | — | QUOTE NEEDED
DuPont Building Solutions | CI + WRB | ArmorWall Plus FR SIS 2¾"+3¾" · ESL-1302 | — | — | dupont.com/building | — | QUOTE NEEDED
Allura USA | Cladding | Lap / Panel / Shakes / Trim / Soffit · Spectrum | — | — | allurausa.com | — | QUOTE NEEDED
Crystal Window & Door Systems | Fenestration | Magnus 4500 + 4700 · NFRC · HVHZ | — | (800) 472-9988 | crystalwindows.com | — | QUOTE NEEDED
Simpson Strong-Tie | SAPK Connectors | MASOZ · HTT · SCLC · SDWS · SDS · ESR-2555+1188 | — | — | strongtie.com | — | QUOTE NEEDED
Rothoblaas | SAPK Connectors | ALUMEGA · HBS PLATE · SIGA Rissan · FENTRIM IS · INFI | — | — | rothoblaas.com | — | QUOTE NEEDED
TerraLam | CLT Structural | TL500S 5-ply CLT · ESR-5053 | — | — | terralaminc.com | — | QUOTE NEEDED
Quilt | HVAC | 3-Zone SEER2 25.3 · HSPF2 12 · T2+T4 | — | — | quilt.com | — | QUOTE NEEDED
Mitsubishi Electric Comfort | HVAC | FX-Series H2i sumo · T3 · Diamond Contractor req. | — | — | mitsubishicomfort.com | — | QUOTE NEEDED
Viessmann | HVAC + DHW | Vitoair FS-ERV · Vitocal 222-S · T2–T4 | — | — | viessmann.com/us | — | QUOTE NEEDED
SPAN | Smart Panel | SPAN Main 40 · UL 3141 · T2–T4 | — | — | span.io | — | QUOTE NEEDED
Enphase Energy | PV + Storage | IQ8 microinverters · IQ Battery 5P · T2–T3 | — | — | enphase.com | — | QUOTE NEEDED
Tesla Energy | Storage | Powerwall 3 · T3 alt | — | — | tesla.com/energy | — | QUOTE NEEDED
EcoFlow | Storage | DELTA Pro Ultra · T4 off-grid | — | — | ecoflow.com | — | QUOTE NEEDED
FranklinWH | Storage | aPower 2 · T4 off-grid · pairs with EcoFlow | — | — | franklinwh.com | — | QUOTE NEEDED
AERCON Florida | Export — AAC | AAC 100mm+125mm panels · ESR-1652 · Caribbean export | — | — | aerconfl.com | — | QUOTE NEEDED
ClarkDietrich / Marino\WARE | Export — LGS | G235 CFS stud+track · AISI S240 · Caribbean | — | — | clarkdietrich.com | — | QUOTE NEEDED
LiveRoof | Rooftop | Standard + MAXX · T2–T3 | — | — | liveroof.com | — | QUOTE NEEDED
Crop Circle Farms | Rooftop | Modular food system · T4 | — | — | cropcirclefarms.com | — | QUOTE NEEDED
Fabuwood | Cabinets | Allure Fusion RTA · all tiers | — | — | fabuwood.com | — | QUOTE NEEDED
Silestone / Cosentino | Countertops | Eternal White 3cm quartz · all tiers | — | — | silestone.com | — | QUOTE NEEDED
COREtec | Flooring | Plus Enhanced LVT 6"×48" · all tiers | — | — | coretecfloors.com | — | QUOTE NEEDED
Schlage / Allegion | Hardware | B60N + Encode Plus · all tiers | — | — | schlage.com | — | QUOTE NEEDED
Samsung Builder Program | Appliances | Refrigerator + range + dishwasher · 18–24% off retail | — | — | samsung.com/us/business | — | ACCOUNT NEEDED
Pro Clima / SIGA | Air Barriers | Intello+ · MAJREX 200 · T3+ | — | — | proclima.com | — | QUOTE NEEDED
Huber Engineered Woods | Fire Panel | EXACOR MGO · ESR-4635 · party wall | — | — | huberwood.com | — | QUOTE NEEDED
Rockwool | Insulation | Comfortbatt R-23 mineral wool · T2+ | — | — | rockwool.com/us | — | QUOTE NEEDED
Rain Bird | Irrigation | XFS-CV subsurface drip · T3–T4 | — | — | rainbird.com | — | QUOTE NEEDED

## VOLUME_PRICING
Volume Purchasing Analysis — Wilmington Hub Warehouse Program
Enter annual unit count in cell D5 (blue). All discount percentages and savings update automatically.
ANNUAL UNIT VOLUME → |  | 10 | ← change this
Material / Category | Retail $/unit | 4–9 units discount | 10–19 units discount | 20–39 units discount | 40+ units discount | At your volume savings/unit
ACME SIP panels (per SF) | 9.8 | 7% | 10% | 12% | 15% | 0.98
Barricade Thermo-Brace SIB (SF) | 3.2 | 6% | 8% | 10% | 12% | 0.256
Allura fiber cement cladding (SF) | 7.5 | 18% | 22% | 28% | 35% | 1.65
Allura Spectrum pre-finished (SF) | 9.2 | 16% | 20% | 25% | 32% | 1.84
Crystal Magnus 4500 window (EA) | 420 | 10% | 14% | 16% | 20% | 58.8
Crystal Magnus 4700 PH (EA) | 720 | 10% | 13% | 16% | 20% | 93.6
Simpson Strong-Tie SAPK kit (SF) | 1.4 | 8% | 11% | 14% | 18% | 0.154
Rothoblaas connectors + tape (SF) | 0.85 | 7% | 10% | 12% | 15% | 0.085
Quilt 3-zone HVAC (EA) | 4200 | 6% | 10% | 13% | 16% | 420
Mitsubishi H2i sumo (EA) | 6400 | 6% | 10% | 14% | 18% | 640
SPAN Main 40 (EA) | 3800 | 5% | 8% | 11% | 14% | 304
Pre-hung interior door bundle (EA) | 280 | 10% | 14% | 18% | 22% | 39.2
Schlage Encode Plus lock (EA) | 240 | 10% | 14% | 16% | 20% | 33.6
Fabuwood RTA cabinets (LS/unit) | 6400 | 8% | 12% | 18% | 24% | 768
Samsung appliance bundle (LS) | 2800 | 12% | 16% | 20% | 24% | 448
LVT COREtec Plus (SF) | 4.8 | 6% | 8% | 12% | 16% | 0.384
AERCON AAC 100mm (SF) — Export | 8.4 | 8% | 12% | 14% | 18% | 1.008
G235 LGS coil stock (SF) — Export | 7.2 | 8% | 12% | 16% | 20% | 0.864

## CONNECTORS
CONNECTORS — expand from ALDDB_SCHEMA tab SAPK connector kit — expand from ALDDB_SCHEMA rows where CATEGORY = SAPK Connector Filter ALDDB_SCHEMA by CATEGORY column to populate this tab.

## FENESTRATION
FENESTRATION — expand from ALDDB_SCHEMA tab Windows + doors — expand from ALDDB_SCHEMA rows where CATEGORY = Fenestration Filter ALDDB_SCHEMA by CATEGORY column to populate this tab.

## CLADDING
CLADDING — expand from ALDDB_SCHEMA tab Allura fiber cement — expand from ALDDB_SCHEMA rows where CATEGORY = Cladding Filter ALDDB_SCHEMA by CATEGORY column to populate this tab.

## HVAC_ENERGY
HVAC_ENERGY — expand from ALDDB_SCHEMA tab HVAC, ERV, smart panel, PV, battery — expand from ALDDB_SCHEMA HVAC + Smart Energy rows Filter ALDDB_SCHEMA by CATEGORY column to populate this tab.

## FIXTURES_FIN
FIXTURES_FIN — expand from ALDDB_SCHEMA tab Fixtures + finishes — expand from ALDDB_SCHEMA Fixtures + Finishes rows Filter ALDDB_SCHEMA by CATEGORY column to populate this tab.