## Overview
MERGE 4 DESIGN LLC × L.E.E.P., INC.
FORWARD HOME PROGRAM
City of Wilmington Vacant Lot Initiative — Four-Tier Building Package Proforma
$220K–$250K (T1) to $267K–$317K (T4 off-grid) · L.E.E.P. trained workforce · May 2026
Merge 4 Design LLC · 215 N. Market St. Suite 317 · Wilmington DE 19801 · merge4design.com
L.E.E.P., Inc. · Gwenevere Motley, Executive Director · Trained installation workforce
PROGRAM SUMMARY — TYPE D 10-UNIT CLUSTER
Total units (Type D pilot) | 1350
T1 sale price per unit | 0
T1 gross revenue | 31
T1 total project cost | 44775
T1 developer net margin | 0
T1 developer margin % | #DIV/0!
Build schedule | 31 weeks
Land cost (City program) | $1 per lot
Investor equity trigger | 261127800000000
Construction loan | 0
FOUR-TIER PRICE AND PERFORMANCE OVERVIEW
Tier | HERS | Sale price (net §45L) | Build premium | Grid status | Food production
T1 — Forward Code+ | 55–70 | $220K–$250K | Base | Grid | —
T2 — Forward Zero | 0–30 | $227K–$263K | ~+$12K–$18K | Grid | —
T3 — Forward Positive | Neg–+10 | $243K–$287K | ~+$28K–$42K | Grid (PV export) | 200–400 lbs/yr
T4 — Forward Harvest | Net positive | $267K–$317K | ~+$52K–$72K | Off-grid capable | 200–600 lbs/yr
NOTE: All proformas at G0 ROM ±25%. Land=$1/lot (City program). Site work+utilities City-funded. Blue cells=inputs. Navigate tabs for full proformas. §45L credit=$5,000/unit (T2–T4 DOE Zero Energy Ready Home). ¦ Soft costs disaggregated per CBai MEP Workflow SOP v1 (June 2026): A&E + MEP PE (CBai-assisted) + permits + M4Di OI Tool. Toggle Assumptions!C10 (1=First typology / 2=Repeat Claymont template) to model fee compression on repeat engagements.
WORKBOOK NAVIGATION
Overview | This sheet — program summary, tier comparison, navigation
Assumptions | Shared inputs — change here to update all proformas
Type A — 4 Units | Single-lot 4-unit for-sale + rental proforma
Type D — 10 Units | 10-unit lot cluster pilot — T1 for-sale + rental
Tier Premium Summary | T1–T4 incremental premium cost analysis
Schedule | 31-week delivery schedule with phase milestones
Cost Comparison | Forward Panel vs. SIP vs. stick frame material cost

## Assumptions
SHARED ASSUMPTIONS — FORWARD HOME PROGRAM
Blue/yellow cells = inputs. Change here — all four proforma tabs update automatically.
CONSTRUCTION COST (per unit — per SF of wall or fixed)
4Ward-SIB panel system (per SF wall) | 10.5 | M4Di ALDDB; Barricade SIB ROM May 2026
Foundation / structural (per SF) | 5 | M4Di ROM; Claymont AE24-002 reference
MEP systems (per SF) | 4 | Includes heat pump; downsized 1 ton vs. stick
Finishes / millwork / appliances (per SF) | 5 | Mid-range Forward Home spec
SOFT COSTS — DISAGGREGATED (CBai MEP SOP v1)
Typology (1 = First use / 2 = Repeat/Claymont template) | 1 | 1 = First engagement · 2 = Repeat (Claymont template) — toggles MEP PE fee
A&E architectural fee (per unit) | 5500 | AOR subconsultant + schematic/permit drawings. Fixed regardless of typology.
MEP PE fee — first typology (per unit, G0–G3) | 3200
MEP PE fee — repeat typology (Claymont template, per unit) | 1800 | 40–50% of full-service per SOP §3 repeat typology target. Available once Claymont G4 template archived (target Q4 2026).
Permits / filing / AHJ fees (per unit) | 1800 | City of Wilmington residential permit. Fixed. Not affected by typology toggle.
M4Di OI Tool / ALDi Tracker (per unit) | 1200 | Predevelopment ROM + ALDi gate tracking through G4. OED cost-verification standard.
TOTAL SOFT COSTS / UNIT (active typology) | 11700 | Active total — updates when typology toggle changes. First use: ~$11,700 · Repeat: ~$10,300
Tier 4 MEP premium (per unit — cistern/agrivoltaic/island electrical) | 3200 | Additional PE scope: cistern plumbing, agrivoltaic trellis structural, island-mode electrical. Range $2,500-$4,000/unit. SOP v1.
Contingency | 8% | 8% of hard + soft costs
FINANCING
Construction loan interest rate (annual)
Build schedule — weeks (4Ward-SIB system) | 31 | vs. 35 wks std SIP; 39 wks stick (Offsite Builder 2025)
Loan-to-cost ratio | 80% | Typical residential construction LTC
REVENUE
Type A avg. sale price / unit
Type D avg. sale price / unit | 235000 | Cluster achieves higher end
RENTAL SCENARIO
Monthly rent / unit
Stabilized expense ratio | 45% | NOI = 55%
Cap rate (valuation) | 6.2% | Delaware multifamily Q1 2026 estimate
CITY PROGRAM
Land cost per lot (City program) | 1 | City of Wilmington vacant lot initiative
Site work / utilities | 0 | Covered by City — developer cost $0
TIER INCREMENTAL PREMIUMS (per unit, G0 ROM ±25%)
Tier 2 — Forward Zero premium (mid) | 15000 | $12K–$18K range
Tier 3 — Forward Positive premium (mid) | 35000 | $28K–$42K range
Tier 4 — Forward Harvest premium (mid) | 62000 | $52K–$72K range
IRA §45L developer credit (T2–T4) | 5000 | DOE Zero Energy Ready Home; T1 not eligible
COLOR CODE: Blue = hardcoded input · Yellow background = key assumption · Green text = linked from this sheet · SOFT COSTS: Toggle C10 between 1 (first typology) and 2 (Claymont repeat template) to see CBai MEP SOP v1 fee compression effect on total.

## Type A — 4 Units
TYPE A — SINGLE LOT ¦ 2–4 UNIT FORWARD HOME
G0 ROM ±25% · For-sale + Rental · Land $1 (City) · Site/Utilities City-funded · L.E.E.P. workforce
Line item | Input / Formula | Per unit | Total (4 units)
PROJECT INPUTS
Number of units | 4 | 4
Avg. unit size (SF) | 1050 | 1050 | 4200
T1 sale price (from Assumptions) | 0.08 | 0.08 | 0.32
SOURCES
Investor equity (site control triggered) | 180000 | 45000 | 180000
Construction loan (LTC × total cost) |  | 218262600000000 | 873050400000000
City land + site/utilities | City-funded
City-funded
City-funded
USES (CONSTRUCTION COSTS)
Panel system — 4Ward-SIB (SF × rate) | 10.5 | 11025 | 44100
Foundation / structural | 5 | 5250 | 21000
MEP systems (HVAC heat pump, plumbing, elec.) | 4 | 4200 | 16800
Finishes / millwork / appliances | 5 | 5250 | 21000
Soft costs — A&E + MEP PE + permits + M4Di (per unit) | 11700 | 11700 | 12285000
↳ Typology toggle: see Assumptions!C10 (1=First ~$11.7K · 2=Repeat ~$10.3K)
Subtotal pre-contingency |  | 37425 | 12387900
Contingency (8%) | 0.08 | 0 | 0
Loan carry (31 wks @ 10.25%) |  | 121257000000 | 0
TOTAL PROJECT COST |  | 37425 | 12387900
FOR-SALE RETURN
Gross sale revenue |  | 0.08 | 0
Less: total project cost |  | 121257000000 | 0
DEVELOPER NET MARGIN |  | -121257000000 | 0
Developer margin % |  | #DIV/0! | #DIV/0!
RENTAL ALTERNATIVE
Monthly rent / unit |  | 31 | 0
Gross annual income |  | 0 | 0
NOI (55% ratio) |  | 6.2 | 0
Stabilized cap rate |  | 0%
Stabilized asset value (NOI ÷ cap rate) |  | #DIV/0! | #DIV/0!

## Type D — 10 Units
TYPE D — 10-UNIT LOT CLUSTER ¦ PILOT PROPOSAL
G0 ROM ±25% · For-sale + Rental · Land $1/lot · Site/Utilities City-funded · Investor equity at site control · L.E.E.P. workforce
Line item | Input / Formula | Per unit | Total (10 units)
PROJECT INPUTS
Number of units | 10 | 10
Avg. unit size (SF) | 1350 | 1350 | 13500
T1 sale price (from Assumptions) | 0 | 0 | 0
SOURCES
Investor equity (site control triggered) | 500000 | 50000 | 500000
Construction loan (LTC × total cost) |  | 261127800000000 | 2611278000000000
City land ($1 × 10 lots) + site/utilities | City-funded
City-funded
City-funded
USES
4Ward-SIB Forward Panel (SF × rate) | 10.5 | 14175 | 141750
Foundation / structural | 5 | 6750 | 67500
MEP (HVAC + plumbing + elec.) | 4 | 5400 | 54000
Finishes / millwork / appliances | 5 | 6750 | 67500
Soft costs — A&E + MEP PE + permits + M4Di (per unit) | 11700 | 11700 | 15795000
↳ Typology toggle: see Assumptions!C10 (1=First ~$11.7K · 2=Repeat ~$10.3K)
Subtotal pre-contingency |  | 44775 | 16125750
Contingency (8%) | 0.08 | 0 | 0
Loan carry (31 wks @ 10.25%) |  | 145071000000 | 0
TOTAL PROJECT COST |  | 44775 | 16125750
FOR-SALE RETURN
Gross sale revenue |  | 0 | 0
Less: total project cost |  | 145071000000 | 0
DEVELOPER NET MARGIN |  | -145071000000 | 0
Developer margin % |  | #DIV/0! | #DIV/0!
RENTAL ALTERNATIVE
Monthly rent / unit |  | 31 | 0
Gross annual income |  | 0 | 0
NOI (55%) |  | 6.2 | 0
Stabilized cap rate |  | 0%
Stabilized asset value |  | #DIV/0! | #DIV/0!

## Tier Premium Summary
FORWARD HOME — FOUR-TIER PREMIUM COST SUMMARY
Incremental premiums above Tier 1 base · Per unit · G0 ROM ±25% · 1,300 SF Type D 10-unit cluster
Cost element | T1 Code+ | T2 Zero | T3 Positive | T4 Harvest
4Ward-SIB Forward Panel system | $13,650 | $13,650 | $13,650 | $13,650
Foundation — Superior Walls Xi Plus (T2–4) | Base CMU | + $4,200–$6,500 | + $4,200–$6,500 | + $4,200–$6,500
Cavity insulation — mineral wool upgrade | Std batt | + $800–$1,200 | + $800–$1,200 | + $800–$1,200
Interior air barrier membrane (T3–4) | — | — | + $1,400–$2,200 | + $1,400–$2,200
Allura cladding — base Lap (all tiers) | $8,450 | $8,450 | $8,450 | $8,450
Allura Panel + Shakes upgrade | Base | + $1,200–$1,800 | + $2,400–$3,600 | + $2,400–$3,600
Crystal Magnus 4500 windows — double-pane | $7,800–$9,200 | Base included | → upgrade to 4700 | → upgrade to 4700
Window upgrade — triple-pane/4700 | — | + $2,400–$3,600 | + $4,800–$6,400 | + $4,800–$6,400
HVAC — Quilt 3-zone (T2 + T4) | Std mini-split | + $2,800–$4,200 | — | Quilt battery-opt.
HVAC — Mitsubishi FX H2i sumo (T3) | — | — | + $4,200–$6,000 | —
HVAC — GSHP alternate (T3 site-dependent) | — | — | + $8,000–$14,000 | —
Viessmann Vitoair ERV (T2–4) | — | + $2,200–$3,200 | + $2,200–$3,200 | + $2,200–$3,200
HPWH drainwater heat recovery (T2–4) | — | + $600–$900 | + $600–$900 | + $600–$900
SPAN MAIN 40 smart panel (T2–4) | 200A stub | + $3,500–$4,500 | + $3,500–$4,500 | + $3,500–$4,500 (island)
PV system (5.5–12 kW) | — (stub only) | + $15,000–$19,500 | + $22,500–$29,000 | + $22,500–$34,000 agrivoltaic
Battery — Enphase IQ5P or Powerwall 3 | — | + $9,500–$13,500 | + $9,500–$13,500 | —
Battery — EcoFlow DPU + FranklinWH (T4) | — | — | — | + $14,000–$22,000
LiveRoof Standard (T2) | Std membrane | + $5,600–$9,100 | — | —
LiveRoof MAXX + edible rows, Up Top Acres (T3) | — | — | + $10,500–$17,500 | —
Crop Circle Farms + agrivoltaic trellis (T4) | — | — | — | + $14,000–$22,000
Cistern + drip irrigation (T3–4) | — | — | + $1,200–$2,000 | + $3,000–$5,000
NatureMill composter (T4) | — | — | — | + $800–$1,200
Commissioning / HERS / PHIUS / off-grid verify | M4Di only | + $1,200–$1,800 | + $3,500–$5,000 | + $2,500–$4,000
MEP PE fee — CBai-assisted vs. full-service (SOP v1 savings) | –$650–$1,050/unit | –$650–$1,050/unit | –$650–$1,050/unit | –$650–$1,050/unit
Tier 4 MEP premium (cistern/agrivoltaic/island electrical PE) | — | — | — | + $2,500–$4,000
TOTAL INCREMENTAL PREMIUM (above T1) | — (T1 base) | ~$12,000–$18,000 | ~$28,000–$42,000 | ~$52,000–$72,000
Estimated sale price range | $220K–$250K | $232K–$268K | $248K–$292K | $272K–$322K
IRA §45L developer credit | — | –$5,000/unit | –$5,000/unit | –$5,000/unit
Net to buyer after §45L
L.E.E.P., Inc. trained workforce is included across all four tiers. §45L = $5,000/unit developer credit for DOE Zero Energy Ready Home certification (Tiers 2–4). Buyers may also claim §25C credits for heat pump/water heater. 30% ITC on PV for developer/owner.

## Schedule
FORWARD HOME — 31-WEEK DELIVERY SCHEDULE
4Ward-SIB Forward Panel system · L.E.E.P. installation crew · All four tiers use same schedule framework
Phase | Timing | Key deliverables | Milestone
Phase 1 — Predevelopment (M4Di) | Wks 1–6 | LOI executed · Investor equity activated · G0 ROM verification · Site + zoning analysis (Ch. 48) · Tier selection · DOE/PHIUS enrollment (T2–4) | Equity committed
Phase 2 — Design + Permitting | Wks 7–18 | Schematic design · Permit drawings (AOR stamp) · AHJ submission · M4Di ALDi cost control | Permit approved
Phase 3 — Fabrication + Site Prep | Wks 12–22 | 4Ward-SIB panel order (concurrent with Phase 2 tail) · Foundation · MEP coordination · Panel delivery logistics | Panels on site
Phase 4 — Erection + Enclosure | Wks 22–26 | L.E.E.P. crew panel install · Dry-in · MEP rough · Windows/doors · Blower door mid-test (T2+) | Dry-in complete
Phase 5 — Finishes + Rooftop | Wks 26–29 | Interior finishes · MEP trim-out · Rooftop system install (T2–T4) · Agrivoltaic trellis (T4) · Cistern (T3–T4) | Rooftop complete
Phase 6 — CO + Closing | Wks 29–31 | Final inspections · Certificate of occupancy · Sale closings (for-sale) or lease-up (rental) · M4Di cost report to OED | CO issued
SCHEDULE COMPARISON
4Ward-SIB Forward Panel (M4D system) | 31 weeks | Source: Offsite Builder Magazine 2025; SIPA RS Means study
Standard SIP panelized | 35 weeks | Source: Offsite Builder Magazine 2025; SIPA RS Means study
Site-built stick frame | 39 weeks | Source: Offsite Builder Magazine 2025; SIPA RS Means study

## Cost Comparison
COST COMPARISON — 4WARD-SIB vs. STANDARD SIP vs. STICK FRAME
Per SF of wall · Blue cells = inputs · Sources: SIPA RS Means; M4Di ALDDB; Offsite Builder 2025
Cost element | 4Ward-SIB (Forward Panel) | Standard SIP (OSB face) | Stick frame (all-in layers) | Panel saving vs. stick
Unit size (SF) — adjust here | 1200
Panel / framing materials | 12600 | 15600 | 16800
WRB / house wrap | Included | 2160 | 2160
Continuous insulation (CI) | Included | 3000 | 4200
Cavity insulation sub | Not required | Not required | 1800
Wrap/CI install labor | Eliminated | 1200 | 3000
Panel engineering | 1260 | 1920 | —
TOTAL ALL-IN (per unit) | 9360 | 20680 | 30660 | 21300
Savings vs. stick frame (4Ward-SIB) | 21300 |  |  | 69.47%
SCHEDULE SAVINGS (LOAN CARRY)
Weeks saved vs. stick frame | 8 weeks | 4 weeks | —
Est. loan carry saving / unit (8 wks @ 10.25%) | 0
NOTE: 4Ward-SIB pricing fixed at order date. Standard SIP and stick frame subject to lumber index volatility. Energy savings ($1,800–$8,000/yr per unit depending on tier) not included in this cost comparison.