## Overview
M4Di FORWARD HOME ROM — FOUR-TIER COST INTELLIGENCE SUMMARY
G0 ROM ±25% · 10-unit Type D lot cluster · 1,350 SF/unit · Merge 4 Design LLC × L.E.E.P., Inc. · May 2026
Cost element | T1 — Code+ | T2 — Zero | T3 — Positive | T4 — Harvest
HARD COSTS PER UNIT | — | — | — | —
4Ward-SIB Forward Panel | 41999 | 41999 | 41999 | 41999
Foundation / structural | 27999 | 29999 | 29999 | 29999
MEP systems — base | 18994 | 21006 | 22005 | 22005
Finishes / millwork / appliances | 23004 | 23004 | 23004 | 23004
Tier-specific upgrades (net) | 0 | 47750 | 54100 | 76300
HARD COST SUBTOTAL | 111996 | 163758 | 171107 | 193307
SOFT COSTS PER UNIT | — | — | — | —
A&E architectural fee | 5500 | 5500 | 5500 | 5500
MEP PE fee (first typology) | 3200 | 3200 | 3200 | 3200
Permits + M4Di OI Tool | 3000 | 3000 | 3000 | 3000
Certification / rater fees | 0 | 2000 | 4250 | 7500
Tier-specific MEP PE premium | 0 | 0 | 3200 | 3200
SOFT COST SUBTOTAL | 11700 | 13700 | 19150 | 22400
Contingency (8%) | 9896 | 14196 | 15220 | 17352
Loan carry (31 wks) | 6531 | 7819 | 8374 | 9530
TOTAL BUILD COST / UNIT | 140123 | 199473 | 213851 | 242589
Sale price / unit | 235000 | 250000 | 265000 | 290000
IRA §45L developer credit | 0 | 5000 | 5000 | 5000
NET DEVELOPER MARGIN / UNIT | 94877 | 55527 | 56149 | 52411
Developer margin % | 40.4% | 22.2% | 21.2% | 18.1%
UNIT COUNT | 10 | 10 | 10 | 10
TOTAL BUILD COST (all units) | 1401230 | 1994730 | 2138510 | 2425890
GROSS REVENUE (all units) | 2350000 | 2500000 | 2650000 | 2900000
NET MARGIN (all units) | 948770 | 555270 | 561490 | 524110
HERS index target | 55–70 | 0–30 | Neg to +10 | Net positive
Blower door ACH50 | < 2.0 (auto) | < 1.0 | < 0.6 | < 0.6
Certification path | Energy Star auto | DOE ZERH | PHIUS+ | Off-grid verified
NOTE: All values G0 ROM ±25%. Soft costs per CBai MEP SOP v1. Override margin % reflects IRA §45L credit offset (T2–T4). Navigate tabs below for full line-item ROM by tier. Update Assumptions tab to recalculate all tiers.
WORKBOOK NAVIGATION
Overview | This sheet — four-tier ROM summary
Assumptions | Shared inputs — change here to update all tiers
T1 — Code+ | Tier 1 full ROM: hard + soft + contingency + carry + return
T2 — Zero | Tier 2 full ROM: adds Quilt, SPAN, PV, battery, LiveRoof Std
T3 — Positive | Tier 3 full ROM: adds Mitsubishi FX, PV 8.5kW, LiveRoof MAXX + edible
T4 — Harvest | Tier 4 full ROM: off-grid battery, agrivoltaic PV, Crop Circle Farms

## Assumptions
SHARED ASSUMPTIONS — M4Di FORWARD HOME ROM
Blue/yellow cells = inputs. Change here — all tier ROM tabs update automatically.
HARD COST RATES (per SF of gross floor area — blended installed)
4Ward-SIB Forward Panel — all tiers (per SF) | 31.11 | Blended installed: $42K/unit @ 1,350 SF · M4Di ALDDB / Barricade SIB ROM May 2026
Foundation — T1 standard CMU / poured (per SF) | 20.74 | Blended installed: $28K/unit @ 1,350 SF · M4Di ROM Claymont AE24-002
Foundation — T2–T4 Superior Walls Xi Plus (per SF) | 22.22 | Blended installed: $30K/unit @ 1,350 SF · TER 2211-02 premium over CMU
MEP — T1 standard heat pump (per SF) | 14.07 | Blended installed: $19K/unit @ 1,350 SF · cold-climate mini-split SEER2 ≥18
MEP — T2 Quilt 3-zone + Vitoair ERV base (per SF) | 15.56 | Blended installed: $21K/unit · SEER2 25.3 / HSPF2 12 · ERV budgeted separately
MEP — T3–T4 Mitsubishi FX H2i sumo (per SF) | 16.3 | Blended installed: $22K/unit · SEER2 29.9 · 10-yr warranty
Finishes / millwork / appliances — all tiers (per SF) | 17.04 | Blended installed: $23K/unit @ 1,350 SF · mid-range Forward Home spec
SOFT COST SUB-COMPONENTS (per unit — all tiers base)
Typology toggle (1 = First · 2 = Repeat / Claymont template) | 1 | Toggle affects MEP PE fee only · 2 = 40–50% compression per CBai MEP SOP v1
A&E architectural fee (per unit) | 5500 | AOR + schematic + permit drawings · fixed regardless of typology
MEP PE fee — first typology (per unit, G0–G3) | 3200 | CBai-assisted target · M4Di CBai MEP Workflow SOP v1 Table 2
MEP PE fee — repeat / Claymont template (per unit) | 1800 | 40–50% of full-service · available Q4 2026 after Claymont G4 archive
Permits / filing / AHJ fees (per unit) | 1800 | City of Wilmington residential permit · fixed
M4Di OI Tool / ALDi Tracker (per unit) | 1200 | G0 ROM + ALDi gate tracking G1–G4 · OED cost-verification standard
SOFT COSTS / UNIT (base, active typology) | 11700 | Active total · First: ~$11,700 · Repeat: ~$10,300
FINANCING
Construction loan rate (annual) | 10.25% | Delaware construction market May 2026 · New Silver / PRMI
Build schedule — weeks (4Ward-SIB Forward Panel) | 31 | vs. 35 wks std SIP · 39 wks stick frame · Offsite Builder 2025
Loan-to-cost ratio (LTC) | 80% | Typical residential construction LTC
REVENUE & RENTAL
T1 avg. sale price / unit | 235000 | City target $220K–$250K · Type D cluster higher end
T2 avg. sale price / unit | 250000
T3 avg. sale price / unit | 265000
T4 avg. sale price / unit | 290000
Monthly rent / unit (all tiers) | 1550 | Wilmington forward housing market · affordable range
Stabilized expense ratio | 45% | NOI = 55%
Cap rate (valuation) | 6.2% | Delaware multifamily Q1 2026 estimate
CITY PROGRAM
Land cost per lot (City program) | 1 | City of Wilmington vacant lot initiative
Site work / utilities (City-funded) | 0 | Developer cost = $0 · City-covered in program
COLOR CODE: Blue = hardcoded input · Yellow = key assumption · Green = formula cross-reference · Typology toggle C10 (1=First / 2=Repeat Claymont)

## T1 — Code+
TIER 1 — FORWARD CODE+ ¦ FORWARD HOME ROM
G0 ROM ±25% · HERS 55–70 · ACH50 < 2.0 (auto) · Cert: Energy Star (auto) · Land: $1 (City program) · Site/utilities: City-funded
Line item | Input | Per unit | Total (10 units) | Source / note
PROJECT INPUTS
Number of units | 10 | 10 |  | Investor equity activated at site control (LOI)
Avg. unit size (SF) | 1350 | 1350 | 13500
Sale price / unit (from Assumptions) | 0 | 0 | 0
SOURCES
Investor equity (site control triggered) | 500000 | 50000 | 500000 | Deployed at LOI · covers 20% LTC gap + pre-construction soft costs
Construction loan (80% LTC × total cost) | (calculated) | 7.9099e+23 | 7.9099e+24
City land ($1 × 10 lots) + site/utilities | City-funded | City-funded | City-funded
HARD COSTS
4Ward-SIB Forward Panel system (SF × rate) | 31.11 | 41998.5 | 419985 | TER 1507-09 · Barricade INDEVCO · all tiers
Foundation / structural (SF × rate) | 20.74 | 27999 | 279990 | CMU (T1) · Superior Walls Xi Plus TER 2211-02 (T2–T4)
MEP systems — base HVAC + plumbing + elec. (SF × rate) | 14.07 | 18994.5 | 189945 | T1: std mini-split · T2: Quilt 3-zone · T3–T4: Mitsubishi FX H2i sumo
Finishes / millwork / appliances (SF × rate) | 17.04 | 23004 | 230040 | Mid-range Forward Home spec · all tiers
HARD COST SUBTOTAL (all installed costs) |  | 111996 | 1119960
SOFT COSTS
A&E architectural fee | 5500 | 5500 | 55000 | AOR + permit drawings · fixed all tiers
MEP PE fee (CBai-assisted, active typology) | 3200 | 3200 | 32000 | First: $3,200 · Repeat/Claymont: $1,800 · CBai MEP SOP v1
Permits / filing / AHJ fees | 1800 | 1800 | 18000 | City of Wilmington residential permit
M4Di OI Tool / ALDi Tracker | 1200 | 1200 | 12000 | G0 ROM + ALDi gate G1–G4 · OED cost-verification standard
SOFT COST SUBTOTAL |  | 11700 | 117000
CONTINGENCY + LOAN CARRY
Contingency (8% of hard + soft) | 180000% | 222652800 | 2226528000 | 8% of combined hard + soft · per M4Di ALDi standard
Loan carry (31 wks @ 10.25% · 80% LTC) |  | 5.1032e+20 | 5.1032e+21 | Rate from Assumptions · 31-week schedule · 80% LTC
TOTAL PROJECT COST |  | 5.1032e+20 | 5.1032e+21
FOR-SALE RETURN ANALYSIS
Gross sale revenue |  | 0 | 0 | Assumptions C35 · City target range
Less: total project cost |  | 5.1032e+20 | 5.1032e+21 | From TOTAL PROJECT COST row above
DEVELOPER NET MARGIN |  | -5.1032e+20 | -5.1032e+21
Developer margin % |  | #DIV/0! | #DIV/0!
RENTAL ALTERNATIVE (hold scenario)
Monthly rent / unit |  | 0 | 0 | From Assumptions · all tiers
Gross annual income |  | 0 | 0
Net operating income (55%) |  | 0 | 0 | NOI = 55% of gross
Stabilized cap rate |  | 0% |  | 6.2% Delaware multifamily Q1 2026
Stabilized asset value (NOI ÷ cap rate) |  | #DIV/0! | #DIV/0!
G0 ROM ±25% · All rates blended installed per floor SF · Soft costs disaggregated per CBai MEP Workflow SOP v1 · Update Assumptions!C10 to toggle first vs. repeat typology MEP PE fee · Land = $1/lot (City program) · Site work + utilities City-funded

## T2 — Zero
TIER 2 — FORWARD ZERO ¦ FORWARD HOME ROM
G0 ROM ±25% · HERS 0–30 · ACH50 < 1.0 · Cert: DOE Zero Energy Ready Home · Land: $1 (City program) · Site/utilities: City-funded
Line item | Input | Per unit | Total (10 units) | Source / note
PROJECT INPUTS
Number of units | 10 | 10 |  | Investor equity activated at site control (LOI)
Avg. unit size (SF) | 1350 | 1350 | 13500
Sale price / unit (from Assumptions) | 0 | 0 | 0
SOURCES
Investor equity (site control triggered) | 500000 | 50000 | 500000 | Deployed at LOI · covers 20% LTC gap + pre-construction soft costs
Construction loan (80% LTC × total cost) | (calculated) | 1.1271e+24 | 1.1271e+25
City land ($1 × 10 lots) + site/utilities | City-funded | City-funded | City-funded
HARD COSTS
4Ward-SIB Forward Panel system (SF × rate) | 31.11 | 41998.5 | 419985 | TER 1507-09 · Barricade INDEVCO · all tiers
Foundation / structural (SF × rate) | 22.22 | 29997 | 299970 | CMU (T1) · Superior Walls Xi Plus TER 2211-02 (T2–T4)
MEP systems — base HVAC + plumbing + elec. (SF × rate) | 15.56 | 21006 | 210060 | T1: std mini-split · T2: Quilt 3-zone · T3–T4: Mitsubishi FX H2i sumo
Finishes / millwork / appliances (SF × rate) | 17.04 | 23004 | 230040 | Mid-range Forward Home spec · all tiers
TIER-SPECIFIC HARD COST UPGRADES
Window upgrade — Magnus 4500 triple-pane / krypton | 3000 | 3000 | 30000 | U ≤ 0.18 · SHGC tuned by orientation
SPAN MAIN 40 smart panel | 4000 | 4000 | 40000 | First UL 3141 certified · Eaton-backed
PV system — 5.5 kW Enphase IQ8 microinverters | 17250 | 17250 | 172500 | Mid of $15K–$19.5K range
Battery — Enphase IQ Battery 5P or Tesla Powerwall 3 | 11500 | 11500 | 115000 | 13.5–20 kWh · 15-yr warranty
LiveRoof® Standard — 700 SF roof | 7350 | 7350 | 73500 | 4.25" soil · FM 4477 · ASTM E108 Class A
Viessmann Vitoair ERV | 2700 | 2700 | 27000 | 85% SRE · MERV 13 · CO₂-responsive
Drainwater heat recovery | 750 | 750 | 7500 | Shower stack recovery · all T2–T4
HARD COST SUBTOTAL (all installed costs) |  | 162555.5 | 1625555
SOFT COSTS
A&E architectural fee | 5500 | 5500 | 55000 | AOR + permit drawings · fixed all tiers
MEP PE fee (CBai-assisted, active typology) | 3200 | 3200 | 32000 | First: $3,200 · Repeat/Claymont: $1,800 · CBai MEP SOP v1
Permits / filing / AHJ fees | 1800 | 1800 | 18000 | City of Wilmington residential permit
M4Di OI Tool / ALDi Tracker | 1200 | 1200 | 12000 | G0 ROM + ALDi gate G1–G4 · OED cost-verification standard
HERS rating + DOE ZERH enrollment | 2000 | 2000 | 20000 | HERS rater at CO + DOE program documentation
SOFT COST SUBTOTAL |  | 13700 | 137000
CONTINGENCY + LOAN CARRY
Contingency (8% of hard + soft) | 180000% | 317259900 | 3172599000 | 8% of combined hard + soft · per M4Di ALDi standard
Loan carry (31 wks @ 10.25% · 80% LTC) |  | 7.2716e+20 | 7.2716e+21 | Rate from Assumptions · 31-week schedule · 80% LTC
TOTAL PROJECT COST |  | 7.2716e+20 | 7.2716e+21
FOR-SALE RETURN ANALYSIS
Gross sale revenue |  | 0 | 0 | Assumptions C36 · City target range
Less: total project cost |  | 7.2716e+20 | 7.2716e+21 | From TOTAL PROJECT COST row above
IRA §45L developer credit (DOE Zero Energy Ready Home) | 5000 | 5000 | 50000 | $5,000/unit developer credit · T2–T4 DOE ZERH eligible
DEVELOPER NET MARGIN |  | -7.2716e+20 | -7.2716e+21
Developer margin % |  | #DIV/0! | #DIV/0!
RENTAL ALTERNATIVE (hold scenario)
Monthly rent / unit |  | 0 | 0 | From Assumptions · all tiers
Gross annual income |  | 0 | 0
Net operating income (55%) |  | 0 | 0 | NOI = 55% of gross
Stabilized cap rate |  | 0% |  | 6.2% Delaware multifamily Q1 2026
Stabilized asset value (NOI ÷ cap rate) |  | #DIV/0! | #DIV/0!
G0 ROM ±25% · All rates blended installed per floor SF · Soft costs disaggregated per CBai MEP Workflow SOP v1 · Update Assumptions!C10 to toggle first vs. repeat typology MEP PE fee · Land = $1/lot (City program) · Site work + utilities City-funded

## T3 — Positive
TIER 3 — FORWARD POSITIVE ¦ FORWARD HOME ROM
G0 ROM ±25% · HERS Neg to +10 · ACH50 < 0.6 · Cert: PHIUS+ / PHIUS Zero · Land: $1 (City program) · Site/utilities: City-funded
Line item | Input | Per unit | Total (10 units) | Source / note
PROJECT INPUTS
Number of units | 10 | 10 |  | Investor equity activated at site control (LOI)
Avg. unit size (SF) | 1350 | 1350 | 13500
Sale price / unit (from Assumptions) | 1 | 1 | 10
SOURCES
Investor equity (site control triggered) | 600000 | 60000 | 600000 | Deployed at LOI · covers 20% LTC gap + pre-construction soft costs
Construction loan (80% LTC × total cost) | (calculated) | 1.3036e+24 | 1.3036e+25
City land ($1 × 10 lots) + site/utilities | City-funded | City-funded | City-funded
HARD COSTS
4Ward-SIB Forward Panel system (SF × rate) | 31.11 | 41998.5 | 419985 | TER 1507-09 · Barricade INDEVCO · all tiers
Foundation / structural (SF × rate) | 22.22 | 29997 | 299970 | CMU (T1) · Superior Walls Xi Plus TER 2211-02 (T2–T4)
MEP systems — base HVAC + plumbing + elec. (SF × rate) | 16.3 | 22005 | 220050 | T1: std mini-split · T2: Quilt 3-zone · T3–T4: Mitsubishi FX H2i sumo
Finishes / millwork / appliances (SF × rate) | 17.04 | 23004 | 230040 | Mid-range Forward Home spec · all tiers
TIER-SPECIFIC HARD COST UPGRADES
Window upgrade — Magnus 4700 Passive House certified | 5600 | 5600 | 56000 | U ≤ 0.14 · PHIUS compliant
SPAN MAIN 40 smart panel | 4000 | 4000 | 40000 | UL 3141 · circuit-level control
PV system — 8.5 kW high-efficiency TOPCon/HJT | 25750 | 25750 | 257500 | ≥ 22% efficiency · Enphase IQ8
Battery — Enphase IQ5P stack (13–20 kWh) | 11500 | 11500 | 115000 | Stackable · 15-yr warranty · island-capable
LiveRoof® MAXX + productive edible rows (Up Top Acres) | 14000 | 14000 | 140000 | 8" soil · RoofBlue riser · lettuce/herbs/tomatoes
Cistern stub + Rain Bird XFS-CV subsurface drip | 1600 | 1600 | 16000 | T3 stub-out for T4 cistern upgrade
Interior air barrier membrane — Pro Clima Intello+ | 1800 | 1800 | 18000 | Continuous · PHIUS compliant
Viessmann Vitoair ERV | 2700 | 2700 | 27000 | 85% SRE · MERV 13
Drainwater heat recovery | 750 | 750 | 7500 | Required at T3–T4
HARD COST SUBTOTAL (all installed costs) |  | 184704.5 | 1847045
SOFT COSTS
A&E architectural fee | 5500 | 5500 | 55000 | AOR + permit drawings · fixed all tiers
MEP PE fee (CBai-assisted, active typology) | 3200 | 3200 | 32000 | First: $3,200 · Repeat/Claymont: $1,800 · CBai MEP SOP v1
Tier 3–4 MEP PE premium (cistern/agrivoltaic/island elec.) | 3200 | 3200 | 32000 | Cistern plumbing + agrivoltaic structural + island-mode elec · SOP v1
Permits / filing / AHJ fees | 1800 | 1800 | 18000 | City of Wilmington residential permit
M4Di OI Tool / ALDi Tracker | 1200 | 1200 | 12000 | G0 ROM + ALDi gate G1–G4 · OED cost-verification standard
PHIUS rater + commissioning plan | 4250 | 4250 | 42500 | PHIUS+ 2021 rater engagement · third-party commissioning
SOFT COST SUBTOTAL |  | 19150 | 191500
CONTINGENCY + LOAN CARRY
Contingency (8% of hard + soft) | 180000% | 366938100 | 3669381000 | 8% of combined hard + soft · per M4Di ALDi standard
Loan carry (31 wks @ 10.25% · 80% LTC) |  | 8.4102e+20 | 8.4102e+21 | Rate from Assumptions · 31-week schedule · 80% LTC
TOTAL PROJECT COST |  | 8.4102e+20 | 8.4102e+21
FOR-SALE RETURN ANALYSIS
Gross sale revenue |  | 1 | 10 | Assumptions C37 · City target range
Less: total project cost |  | 8.4102e+20 | 8.4102e+21 | From TOTAL PROJECT COST row above
IRA §45L developer credit (DOE Zero Energy Ready Home) | 5000 | 5000 | 50000 | $5,000/unit developer credit · T2–T4 DOE ZERH eligible
DEVELOPER NET MARGIN |  | -8.4102e+20 | -8.4102e+21
Developer margin % |  | -8.4102e+20 | -8.4102e+20
RENTAL ALTERNATIVE (hold scenario)
Monthly rent / unit |  | 0 | 0 | From Assumptions · all tiers
Gross annual income |  | 0 | 0
Net operating income (55%) |  | 0 | 0 | NOI = 55% of gross
Stabilized cap rate |  | 0% |  | 6.2% Delaware multifamily Q1 2026
Stabilized asset value (NOI ÷ cap rate) |  | #DIV/0! | #DIV/0!
G0 ROM ±25% · All rates blended installed per floor SF · Soft costs disaggregated per CBai MEP Workflow SOP v1 · Update Assumptions!C10 to toggle first vs. repeat typology MEP PE fee · Land = $1/lot (City program) · Site work + utilities City-funded

## T4 — Harvest
TIER 4 — FORWARD HARVEST ¦ FORWARD HOME ROM
G0 ROM ±25% · HERS Net positive · ACH50 < 0.6 · Cert: Off-grid verified · Land: $1 (City program) · Site/utilities: City-funded
Line item | Input | Per unit | Total (10 units) | Source / note
PROJECT INPUTS
Number of units | 10 | 10 |  | Investor equity activated at site control (LOI)
Avg. unit size (SF) | 1350 | 1350 | 13500
Sale price / unit (from Assumptions) | 0 | 0 | 0
SOURCES
Investor equity (site control triggered) | 750000 | 75000 | 750000 | Deployed at LOI · covers 20% LTC gap + pre-construction soft costs
Construction loan (80% LTC × total cost) | (calculated) | 1.3781e+24 | 1.3781e+25
City land ($1 × 10 lots) + site/utilities | City-funded | City-funded | City-funded
HARD COSTS
4Ward-SIB Forward Panel system (SF × rate) | 31.11 | 41998.5 | 419985 | TER 1507-09 · Barricade INDEVCO · all tiers
Foundation / structural (SF × rate) | 22.22 | 29997 | 299970 | CMU (T1) · Superior Walls Xi Plus TER 2211-02 (T2–T4)
MEP systems — base HVAC + plumbing + elec. (SF × rate) | 16.3 | 22005 | 220050 | T1: std mini-split · T2: Quilt 3-zone · T3–T4: Mitsubishi FX H2i sumo
Finishes / millwork / appliances (SF × rate) | 17.04 | 23004 | 230040 | Mid-range Forward Home spec · all tiers
TIER-SPECIFIC HARD COST UPGRADES
Window upgrade — Magnus 4700 Passive House certified | 5600 | 5600 | 56000 | U ≤ 0.14 · PHIUS compliant
SPAN MAIN 40 — island-mode configured | 4000 | 4000 | 40000 | Off-grid load-shedding priority schedule
Agrivoltaic PV trellis — 8.5–12 kW bifacial TOPCon | 28250 | 28250 | 282500 | Elevated 5–6 ft above Crop Circle growing beds
Off-grid battery — EcoFlow DELTA Pro Ultra + FranklinWH aPower 2 | 18000 | 18000 | 180000 | 19.2–90 kWh · true island mode · no utility interconnect
Crop Circle Farms® modular rooftop food system | 10000 | 10000 | 100000 | Patented · 40+ country trademark · 200–600 lbs/yr yield
500-gal cistern + gravity-fed Rain Bird XFS-CV drip | 4000 | 4000 | 40000 | Closed water loop: roof → crops → compost
NatureMill indoor composter | 1000 | 1000 | 10000 | 5W · 2-week cycle · feeds rooftop growing medium
Interior air barrier membrane — Pro Clima Intello+ | 1800 | 1800 | 18000 | Critical for off-grid battery efficiency
Viessmann Vitoair ERV | 2700 | 2700 | 27000 | 85% SRE · MERV 13
Drainwater heat recovery | 750 | 750 | 7500 | Required T3–T4
HARD COST SUBTOTAL (all installed costs) |  | 193104.5 | 1931045
SOFT COSTS
A&E architectural fee | 5500 | 5500 | 55000 | AOR + permit drawings · fixed all tiers
MEP PE fee (CBai-assisted, active typology) | 3200 | 3200 | 32000 | First: $3,200 · Repeat/Claymont: $1,800 · CBai MEP SOP v1
Tier 3–4 MEP PE premium (cistern/agrivoltaic/island elec.) | 3200 | 3200 | 32000 | Cistern plumbing + agrivoltaic structural + island-mode elec · SOP v1
Permits / filing / AHJ fees | 1800 | 1800 | 18000 | City of Wilmington residential permit
M4Di OI Tool / ALDi Tracker | 1200 | 1200 | 12000 | G0 ROM + ALDi gate G1–G4 · OED cost-verification standard
PHIUS rater + off-grid performance verification | 7500 | 7500 | 75000 | PHIUS rater + annual energy/food production audit plan
SOFT COST SUBTOTAL |  | 22400 | 224000
CONTINGENCY + LOAN CARRY
Contingency (8% of hard + soft) | 180000% | 387908100 | 3879081000 | 8% of combined hard + soft · per M4Di ALDi standard
Loan carry (31 wks @ 10.25% · 80% LTC) |  | 8.8908e+20 | 8.8908e+21 | Rate from Assumptions · 31-week schedule · 80% LTC
TOTAL PROJECT COST |  | 8.8908e+20 | 8.8908e+21
FOR-SALE RETURN ANALYSIS
Gross sale revenue |  | 0 | 0 | Assumptions C38 · City target range
Less: total project cost |  | 8.8908e+20 | 8.8908e+21 | From TOTAL PROJECT COST row above
IRA §45L developer credit (DOE Zero Energy Ready Home) | 5000 | 5000 | 50000 | $5,000/unit developer credit · T2–T4 DOE ZERH eligible
DEVELOPER NET MARGIN |  | -8.8908e+20 | -8.8908e+21
Developer margin % |  | #DIV/0! | #DIV/0!
RENTAL ALTERNATIVE (hold scenario)
Monthly rent / unit |  | 0 | 0 | From Assumptions · all tiers
Gross annual income |  | 0 | 0
Net operating income (55%) |  | 0 | 0 | NOI = 55% of gross
Stabilized cap rate |  | 0% |  | 6.2% Delaware multifamily Q1 2026
Stabilized asset value (NOI ÷ cap rate) |  | #DIV/0! | #DIV/0!
G0 ROM ±25% · All rates blended installed per floor SF · Soft costs disaggregated per CBai MEP Workflow SOP v1 · Update Assumptions!C10 to toggle first vs. repeat typology MEP PE fee · Land = $1/lot (City program) · Site work + utilities City-funded